Republic of Albania

Ministry of Agriculture and Rural Development

Climate Resilience and Agriculture Development Project

TERMS OF REFERENCE

for

Consulting Services

for

Preparation of feasibility studies, environmental and social requirements, and detailed designs and construction supervision plans for all facilities (including necessary consultation) (AKU lab & Storage)

October 2025

- BACKGROUND AND CONTEXT

Agriculture plays a vital role in Albania’s economy, contributing significantly to GDP and employment. However, challenges related to fragmented production, limited compliance with quality standards, and low public investment have constrained competitiveness. In response, the Government of Albania has adopted strategies aimed at modernizing the agri-food system and enhancing compliance with EU standards, particularly in food safety, veterinary, and plant health sectors.

The CRAD Project, financed through a loan agreement with the World Bank, is designed to strengthen the resilience and competitiveness of the agri-food sector, with a focus on selected value chains. The project includes three components, of which Component 2 — "Enhancing Compliance with Food Safety and Quality Standards" — specifically supports improvements in inspection capacities, laboratory diagnostics, and risk-based monitoring mechanisms.

Within this framework, support is foreseen for upgrading the infrastructure and technical capacities of the National Food Authority (AKU) and the Institute of Food Safety and Veterinary (ISUV). These interventions are aimed at enabling compliance with the EU General Food Law and Smarter Rules for Safer Food (SRSF), including the implementation of testing methodologies and laboratory accreditation.

The legal foundation of this intervention is the Project Appraisal Document (PAD), ratified as part of the CRAD Financing Agreement. According to PAD, the project foresees the rehabilitation and equipping of four regional laboratories of AKU located in Shkodër, Durrës, Fier, and Korçë, as well as four storage facilities for banned products in Shkodër, Korçë, Tiranë, and Vlorë. Based on the decision of the Technical Working Group, the current assignment will focus on the preparation of technical documentation for the four AKU laboratories and two storage facilities in Shkodër and Korçë.

This assignment represents a key preparatory activity for future investments, ensuring that all civil works, procurement of equipment, and operational upgrades are grounded in harmonized technical specifications, aligned with EU standards and national legislation.

# OBJECTIVES OF THE ASSIGNMENT

The objective of this assignment is to prepare of all necessary technical documentation for the rehabilitation and functional upgrading of public infrastructure related to food safety, veterinary and plant health, with special focus on laboratory diagnostics and storage facilities under the CRAD Project.

Specifically, the assignment aims to:

- Prepare feasibility studies, site-specific environmental and social assessments, and detailed designs for the rehabilitation of four regional AKU laboratories located in Shkodër, Durrës, Fier, and Korçë (details on locations of these laboratories can be found on https://aku.gov.al/);

- Prepare feasibility studies, site-specific environmental and social assessments, and detailed designs for the establishment or rehabilitation of two storage facilities for products found non-compliant, in Shkodër and Korçë;

- Provide inputs for supervision planning and tendering documentation, including technical specifications and bill of quantities, in line with national building codes and EU laboratory infrastructure standards;

- Ensure that all proposed interventions are aligned with the objectives of Component 2 of the CRAD Project and the requirements set out in the Project Appraisal Document (PAD);

- Contribute to enabling AKU laboratories to perform risk-based monitoring, testing, and diagnostics in line with EU food safety, veterinary, and plant health regulations, especially as regards the EU’s Official Controls Regulation (2017/625).

The profiling of the laboratories to be rehabilitated is defined as follows:

- Fier Laboratory: core activity will be food safety - pesticide residues, and specialized phytosanitary analyses.

- Durrës Laboratory: core activity will be food safety analyzes, with special focus on analyzes of contaminants, mycotoxins, additives, and other chemical analyses, in addition to existing phytosanitary services.

- Korçë Laboratory: Veterinary diagnostics and animal health services.

- Shkodër Laboratory: Animal health and pesticide residues.

The assignment is not limited to design aspects but also supports institutional readiness for implementation, including the integration of good practices for laboratory workflows, biosafety, waste management, and infrastructure usability.

- SCOPE OF WORK

The Consultant shall carry out all necessary activities for the preparation of technical documentation and supervision planning for the rehabilitation and upgrading of four AKU laboratories and two storage facilities.

The Consultant shall prepare the detailed technical design in full compliance with Albanian building codes and legal provisions, and in line with EU standards for facilities/premises for storage of non-compliant plants, food (of both animal and non-animal origin), and feed.

The scope includes, but is not limited to, the following tasks:

Task 1: Site Assessments and Data Collection

- Conduct site visits to assess the current physical and functional conditions of each facility.

- Collect baseline technical data, including building layouts, utility connections, accessibility, structural integrity, and functionality.

- Identify any constraints or risks that may affect design or implementation.

Task 2: Feasibility Studies and Environmental and Social Instruments

- Prepare feasibility studies for each site, including preliminary cost estimates and technical justifications.

- Prepare site-specific environmental and social assessments and required instruments (e.g., ESMPs), in compliance with national legislation and the World Bank Environmental and Social Framework.

Task 3: Detailed Design and Technical Specifications

- Prepare complete architectural, structural, mechanical, and electrical designs for each facility.

- Ensure all designs comply with national construction standards and relevant EU norms for laboratory infrastructure.

- Include provisions for laboratory workflow, biosafety, HVAC systems, waste management, and storage conditions for hazardous substances.

Task 4: Equipment Layouts and Utilities

- Propose optimal layout for laboratory equipment and furnishings – basic technical assumptions and requirements for each of the 4 AKU laboratories are specified in Annex 1.

- Propose optimal layout for storage facilities, equipment and furnishings - basic technical assumptions and requirements for storage facilities are specified in Annex 2.

- Integrate requirements for sample reception, preparation, testing, and storage.

- Ensure efficient distribution of utilities (water, power, technical gases, air handling, etc.) and IT/data connections in accordance with laboratory standards.

Task 5: Tender Documentation

- Prepare complete tender documents including drawings, bill of quantities (BoQ), technical specifications, and cost estimates.

- Support the Client with any clarifications during the procurement process.

Task 6: Construction Supervision Plan

- Develop a supervision plan to guide the implementation phase.

- Define roles and responsibilities, quality control measures, and reporting mechanisms.

The Consultant shall coordinate and collaborate closely with with the contract monitoring working group (with representatives by AKU, MARD, ISUV and the Project Management Team) to ensure that all designs and documentation reflect institutional needs and meet the requirements

- REPORTS AND DELIVERABLES

The Consultant shall submit the following deliverables in English and Albanian, in both electronic format and one hard copy per report for national authorities:

Phase 1 – Feasibility and Environmental/Social Assessments:

- Inception Report

- Feasibility Study Report (technical, infrastructural, economic analysis)

- Environmental and Social Impact Assessment (ESIA)

- Environmental Management Plan (EMP)

- Social Impact Assessment (SIA) and Social Management Plan (SMP)

Phase 2 – Detailed Design:

- Preliminary Design Package

- Final Detailed Design Package (drawings, specifications, equipment layout)

- Bill of Quantities (BoQ)

- Cost Estimates

- Tender Documents

- Stakeholder Consultation Summary

Phase 3 – Construction Supervision Planning:

- Supervision and Quality Control Plan

- Health, Safety, Environmental Compliance Checklist

- Reporting Framework and Templates

All deliverables must be aligned with EU standards, relevant international standards and World Bank environmental and social framework requirements.

After all works are completed and prior to project handover, the Consultant shall prepare a Final Supervision Report documenting the overall implementation of construction activities, compliance with design specifications and applicable standards, and verification of all completed works. The report shall also include a concise summary of lessons learned and practical recommendations for the organization, planning, and implementation of the actual construction supervision phase (outside the scope of this contract), aiming to ensure continuity, risk mitigation, and quality assurance during the upcoming supervision of civil works.

- DELIVERABLES, TIMELINE AND PAYMENT SCHEDULE

The Consultant shall deliver the outputs of this assignment in three phases. Each deliverable shall be submitted in English and Albanian, both in electronic format and hard copy, and shall be subject to review and approval by the Client. The Consultant shall have five (5) working days to respond to comments provided by the Client. Upon satisfactory revision, the Client shall provide formal approval within two (2) working days.

- Phase 1 – Feasibility Studies and Environmental & Social Assessments

| D. No | Deliverable | Deadline (from contract signing) | Review Period | Payment Schedule |
| --- | --- | --- | --- | --- |
| D1 | Inception Report | 3 (three) weeks | 4 working days | N/A |
| D2 | Feasibility Study | 7 (seven) weeks | 4 working days | 10% |
| D3 | Environmental Study | 9 (nine) weeks | 4 working days | N/A |
| D4 | Social Requirements Report | 8 (eight) weeks | 4 working days | 5% |

- Phase 2 – Detailed Design

| D. No | Deliverable | Deadline (from Phase 2 start) | Review Period | Payment Schedule |
| --- | --- | --- | --- | --- |
| D4 | Preliminary Design Package | 4 (four) weeks | 4 working days | 10% |
| D5 | Final Detailed Design Package | 8 (eight) weeks | 4 working days | 10% |

- Phase 3 – Construction Supervision Planning

| D. No | Deliverable | Frequency / Deadline | Review Period | Payment Schedule |
| --- | --- | --- | --- | --- |
| D6 | Monthly Progress Reports | End of each month during works | 5 working days |  |
| D7 | Quality Control Reports | Every 2 (two) months | 5 working days |  |
| D8 | Environmental & Social Compliance Report | Every 3 (thre) months | 5 working days |  |
| D9 | Final Supervision Report | After completion, before handover | 5 working days |  |

The duration of the design-related services is expected to be approximately 7–8 months. The civil works contract is foreseen to last 12 months. Monitoring services may be extended during the 12-month Defects Liability Period, if needed. The Consultant (supervision contractor) shall inspect completed works, identify deficiencies, ensure correction of defects, and issue Defects Liability or Final Acceptance Certificates accordingly.

Note: The current Consultant shall not provide construction supervision services but will prepare the supervision planning framework only, as per Section 3, Task 6.

- CONSULTANT QUALIFICATIONS

The contract shall be awarded following a Quality- and Cost-Based Selection (QCBS) procedure, in accordance with the World Bank’s Procurement Regulations for IPF Borrowers: "Procurement in Investment Project Financing – Goods, Works, Non-Consulting and Consulting Services" (July 2016, revised November 2017, August 2018, and November 2020).

The Consultant may associate with other entities in the form of a joint venture or sub-consultancy to complement respective areas of expertise, enhance technical responsiveness, provide a broader expert pool, and strengthen methodological approaches.

  - Firm Qualifications

The Consultant shall be a firm or group of firms with the following minimum qualifications:

- Minimum 10 years of demonstrated experience in assignments involving feasibility studies, environmental and social assessments, design, and supervision of construction or rehabilitation of laboratory or public health infrastructure;

- Completion of at least three (3) similar contracts in the last ten (10) years;

- Previous experience with World Bank-financed projects is considered an advantage.

Firms will be shortlisted based on the following evaluation criteria:

- Core business and years of operation – 30 points

- Relevant experience in similar assignments – 60 points

- Availability of qualified in-house staff – 10 points

  - Key Experts

The Consultant shall provide approximately 95 person-months of key staff. Given the volume of fieldwork and the need for concurrent activities, the Consultant must ensure sufficient team capacity and strong internal quality control mechanisms. The following minimum expert profiles are required:

- Team Leader with international experience

  - Master’s degree in Engineering, Architecture, Project Management, or related field

  - Minimum 12 years of experience, including 7 years in feasibility studies, detailed design, and supervision of public infrastructure or laboratories

  - Preferably with prior experience as team leader in similar assignments

- Senior Laboratory Scientist with international experience

  - MSc in Laboratory Technology, Chemistry, or related discipline

  - Minimum 12 years of experience with laboratory equipment, workflows, and analysis across phytosanitary, contaminant, and veterinary areas

- Agricultural & Veterinary Scientist

  - MSc in Agriculture, Veterinary Sciences, or related fields

  - At least 7 years of experience in pesticide, phytosanitary, and animal health diagnostics

- Quality & Regulatory Specialist

  - Degree or certification in Quality Management or Laboratory Accreditation

  - Minimum 7 years of experience in compliance, accreditation processes, and laboratory standards

- Environmental Specialist

  - Master’s in Environmental Sciences or Engineering

  - Minimum 7 years of experience with EIAs, EMPs, and environmental assessments aligned with EU or international standards

- Social, Health and Safety Specialist

  - Master’s in Social Sciences, Sociology, or related field

  - Minimum 7 years in social impact assessments, stakeholder engagement, and health and safety

  - Experience with World Bank or EU projects is a plus

- Architect

  - Master’s degree in Architecture

  - At least 10 years in institutional/public building design, including laboratories

- Civil/Structural Engineer

  - Master’s degree in Civil or Structural Engineering

  - At least 10 years of experience in structural analysis and retrofitting

- Electrical Engineer

  - Degree in Electrical Engineering

  - Minimum 10 years in designing electrical systems for laboratory facilities, including backup power and grounding systems

- Mechanical/HVAC Engineer

  - Degree in Mechanical Engineering

  - At least 10 years in HVAC system design for controlled environments

- Laboratory Equipment Specialist

  - Degree in Biomedical Engineering, Laboratory Technology, or similar

  - Minimum 10 years of experience specifying and integrating lab equipment in line with EU/ISO standards

- Supervision/Resident Engineers (4 positions, one per laboratory/ storage)

  - Master’s in Civil Engineering or Construction Management

  - Minimum 10 years in construction supervision, with at least 7 years of experience on rehabilitation or reconstruction projects of public infrastructure or technical facilities.
Each laboratory site (Shkodër, Durrës, Fier, and Korçë) shall be assigned a dedicated resident engineer to ensure full-time supervision coverage and coordination during construction implementation.

  - Non-Key Experts and Backstopping Support

In addition to key staff, the Consultant shall include all necessary non-key experts in their Technical and Financial Proposal, according to the proposed methodology. This may include surveyors, CAD specialists, quantity surveyors, junior engineers, and administrative support.

The Consultant must also ensure backstopping and home office support throughout the assignment, including senior technical advisors who may be mobilized as needed to ensure timely and quality delivery of outputs.

- CLIENT’S INPUT AND COUNTERPART PERSONNEL

The Ministry of Agriculture and Rural Development (MARD) will facilitate the implementation of the assignment by providing the following inputs:

- Technical Documentation: MARD shall provide the Consultant with the complete civil works contract documentation for the facilities subject to this assignment, including all relevant design drawings, reports, bills of quantities (BoQs), and annexes. These materials will serve as a baseline for review, verification, and further development of detailed designs, supervision planning, and procurement documentation.

- Local Services: No local services (e.g., translation, logistics, field support) will be provided by MARD. The Consultant is responsible for organizing all necessary field operations and logistics.

- Counterpart Personnel: MARD will assign dedicated counterpart personnel to the Consultant. Furthermore, the Project Implementation Unit (PIU) will facilitate coordination with relevant stakeholders and institutions.

- Facilities and Office Space: The Client will provide, whenever needed, office space or on-site facilities. The Consultant shall arrange its own equipment as necessary to execute the assignment.  The Client will provide the existing project implementations of the regional laboratories in Shkoder, Durres, Korçe, and Fier.

The Consultant is expected to operate independently and ensure all required resources, logistics, and expertise are mobilized to meet the objectives and timelines of this assignment.

- INSTITUTIONAL ARRANGEMENTS

- The Team Leader/Manager of the Consultant’s Oversight Team shall report to the Ministry of Agriculture and Rural Development (MARD), through the Project Management Team (PMT). The Team Leader shall maintain direct functional responsibilities to MARD throughout the duration of the assignment.

- The Team Leader shall liaise closely with the relevant directorates within MARD, as well as with all other relevant institutions, stakeholders, and project beneficiaries, as required to fulfill the scope of services.

- The Consultant shall ensure efficient internal coordination between its team members and maintain regular communication with the PIU to ensure consistency with project requirements, timelines, and quality standards.

- The Consultant is expected to attend progress review meetings, coordination sessions, and field visits as requested by the PMT or MARD.

- All reporting and formal communication shall be conducted through the PMT, unless otherwise directed by MARD.

- PERIOD AND TIME SCHEDULE OF THE DESIGN & SUPERVISION CONTRACT

The estimated implementation period for this assignment is sixteen (16) months, structured as follows:

- Phase 1: Feasibility Study and Environmental & Social Requirements – Two (2) months;

- Phase 2: Detailed Design Development – Two (2) months;

- Phase 3: Construction Supervision Planning and Oversight – Twelve (12) months (aligned with civil works duration);

- Defects Liability Monitoring Support – One (1) month (to be provided one year after the completion of civil works).

The Consultant shall prepare and submit a clear implementation schedule with critical milestones covering all phases as part of the Inception Report. The Consultant is expected to make all reasonable efforts to adhere to the schedule and ensure timely delivery of the assignment outputs.

- SELECTION

The Consultant will be selected in accordance with the World Bank Procurement Regulations for IPF Borrowers: "Procurement in Investment Project Financing of Goods, Works, Non-Consulting and Consulting Services" (July 2016, revised November 2017, August 2018, and November 2020), using the Quality and Cost-Based Selection (QCBS) method.

The assignment shall be implemented through:

- A Lump Sum Contract for Phase 1 and Phase 2 (Feasibility Study, Environmental and Social Assessments, and Detailed Design); and

- A Time-Based Contract for Phase 3 (Construction Supervision Planning and Oversight).

The World Bank requires that firms or individuals involved in the procurement of IPF-financed services must not have any actual, potential, or perceived conflict of interest.

ANNEXES 1 – KORÇA, DURRËSI, FIERI AND SHKODRA REGIONAL LABS

VETERINARY DIAGNOSIS AND ANIMAL HEALTH ANALYSES

Establishment and Operation of Regional Diagnostic Laboratories for Animal Health

1. Purpose

The main objective is the reorganization and revitalization of the veterinary laboratory system to make it more effective, safer, and reliable in addressing the challenges faced by livestock farmers regarding animal health and welfare, through:

- Improvement of infrastructure related to the reorganization of existing laboratory facilities and the establishment of new laboratories, as well as enhancing biosafety levels in accordance with the services/methods provided, based on the manuals and standards of Biosafety Level 2 (BSL-2) laboratories.

- Fulfilment of EU requirements for official controls concerning the prevention, monitoring, and rapid response to zoonotic diseases of bacterial and parasitic origin that impact public and veterinary health.

- Supporting competent authorities in assessing the epidemiological situation in the country with respect to prophylactic programs, and improving the implementation of preventive and control measures.

- Supporting farmers in preventing and controlling economically impactful diseases, addressing hygiene issues, and improving therapeutic treatments aimed at reducing antimicrobial resistance (AMR).

- Ensuring high-quality performance and preparation for accreditation in compliance with international standards (ISO/IEC 17025).

2. Objectives

- Reorganization of laboratory facilities in full compliance with the requirements of international ISO laboratory standards.

- Development of laboratory infrastructure that meets the requirements of a Biosafety Level 2 (BSL-2) diagnostic laboratory.

- Implementation of analytical methods in accordance with the guidelines of the OIE Diagnostic Manual.

- Strengthening laboratory capacities through the provision of necessary equipment and materials for the analyses/services authorized for each laboratory.

- Enhancing technical capacities through staff training and establishing the capability to implement a Quality Management System (QMS) across all laboratories, as well as achieving accreditation under ISO/IEC 17025.

- Increasing the number and stability of human resources, along with improving recruitment criteria.

- Strengthening and harmonizing sustainable budgets.

3. Scope of Work

The regional laboratories will be responsible for:

- Receiving, registering, and documenting samples.

- Performing analyses for the diagnosis of non-zoonotic bacterial, parasitic, and mycotic diseases in livestock.

- Participating in surveillance programs for bacterial zoonotic diseases using screening methods only.

- Reporting results to competent authorities.

- Preserving and archiving samples and results in accordance with traceability standards.

4. Main Responsibilities

Laboratory Staff:

- Performing laboratory analyses.

- Documentation and record-keeping.

- Implementation of quality manuals.

- Management of laboratory waste.

- Planning laboratory material and equipment needs.

Regional Coordinator:

- Managing the laboratory in accordance with ISO standards.

- Planning needs and ensuring periodic or on-demand training for technical staff.

- Reporting and communicating with the National Reference Center.

- Identifying and forecasting budgetary needs for authorized services.

Central Authority:

- Oversight and supervision of the network.

- Provision of stable human and financial resources.

- Integration of laboratories within the national and European diagnostic network.

5. Expected Results

- Fully operational laboratories compliant with EU and OIE standards.

- Established Standard Operating Procedures (SOPs).

- Quality Manual and procedures aligned with ISO/IEC 17025.

- Periodic reporting of analytical and diagnostic activities in animal health.

ANNEX 1.1

Organization of Workspaces

A diagnostic laboratory for animal health must include at least the following separate areas and follow a no-way-back sample flow logic (entry → analysis → reporting):

1. Necropsy Laboratory (Sample Reception Area)

Samples to be received: carcasses/organs, blood, swabs.

Description:

- Dedicated necropsy area equipped with necropsy table, sink, centrifuge, refrigerator, and freezer.

- Must have two points of access: one external door for sample entry and one internal door for communication with other laboratories and the reception area.

Required Equipment:

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Freezer (-20°C) | 1 | Piece |
| 2 | Refrigerator (5°C) | 1 | Piece |
| 3 | Centrifuge | 1 | Piece |
| 4 | Digital thermometer with external probe (for refrigerator and freezer) | 2 | Pieces |
| 5 | Necropsy table | 1 | Piece |

2. Reception and Sample Registration Area

Samples to be physically received: milk samples, blood in vacutainers, or samples in sterile containers.
Other samples (e.g., necropsy materials) are received in the necropsy laboratory and recorded in the LIMS (Laboratory Information Management System) according to necropsy lab instructions.

Description:

- Separate area with a counter for sample registration/labelling and document storage.

- Equipped with a computer for data entry into the LIMS and a refrigerator for temporary storage of samples.

- Must have two access points: one external door for sample reception and one internal door for communication with laboratories and the necropsy area.

Required Equipment:

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Refrigerator (5°C) | 1 | Piece |
| 2 | Digital thermometer with external probe | 1 | Piece |
| 3 | Computer | 1 | Piece |
| 4 | Electronic technical balance | 1 | Piece |
| 5 | Printer | 1 | Piece |

3. Microbiological Analysis Room

Workflow organization: Must follow the no-way-back principle, divided into two separate areas:

- Area 1: Initial sample processing and storage, equipped with sink, balance, and refrigerator (activities: weighing, homogenization, sample distribution).

- Area 2: Incubation and result evaluation, equipped with a laminar flow cabinet, refrigerator/freezer for media, kits, and strain storage.

Additional requirements:

- Benches and floors made of materials that are easy to clean and disinfect.

- Each laboratory room must have a sink.

- Electrical and plumbing systems must ensure continuous and stable operation.

Required Equipment:

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Microbiological safety cabinet (laminar flow) | 1 | Piece |
| 2 | Incubator | 4 | Pieces |
| 3 | CO₂ incubator (37°C) | 1 | Piece |
| 4 | Shaker | 1 | Piece |
| 5 | Microscope | 1 | Piece |
| 6 | Pipette aid | 1 | Piece |
| 7 | Shaker (duplicate item, as needed) | 1 | Piece |
| 8 | Stomacher (sample homogenizer) | 1 | Piece |
| 9 | Water bath (0–90°C) | 1 | Piece |
| 10 | Electronic technical balance | 1 | Piece |
| 11 | Magnetic stirrer | 1 | Piece |
| 12 | Freezer (-20°C) | 1 | Piece |
| 13 | Refrigerator (5°C) | 1 | Piece |
| 14 | Centrifuge | 1 | Piece |
| 15 | Vortex mixer | 1 | Piece |
| 16 | Magnetic stirrer (additional) | 1 | Piece |
| 17 | Digital thermometer with external probe (for refrigerator, freezer, and water bath) | 3 | Pieces |
| 18 | UV lamp (for laboratory disinfection) | 1 | Piece |

4. Parasitology / Microscopy Analysis Room

Description:
This area is equipped for parasitological and microscopic analysis with microscopes, stereomicroscopes, balances, refrigerators, incubators, centrifuges, and mixers.

- Benches and floors made of easy-to-clean and disinfected materials.

- A sink must be present in the laboratory.

Required Equipment:

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Biological microscope | 1 | Piece |
| 2 | Stereomicroscope | 1 | Piece |
| 3 | Technical balance (0–500 g) | 1 | Piece |
| 4 | Magnetic stirrer | 1 | Piece |
| 5 | Freezer (-20°C) | 1 | Piece |
| 6 | Refrigerator (5°C) | 1 | Piece |
| 7 | Centrifuge | 1 | Piece |
| 8 | Digital thermometer with external probe (for refrigerator and freezer) | 2 | Pieces |
| 9 | UV lamp (for laboratory disinfection) | 1 | Piece |

ANNEX 1.1 – Organization of Workspaces (continued)

5. Serological Analysis Room

Description:
The serology laboratory should be equipped with a refrigerator, freezer, incubator, centrifuge, mixer, micropipettes, and an ELISA reader.

- Benches and floors must be made of materials that are easy to clean and disinfect.

- A sink must be available within the laboratory.

Required Equipment:

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | ELISA microplate shaker | 1 | Piece |
| 2 | Plate shaker | 1 | Piece |
| 3 | ELISA washer | 1 | Piece |
| 4 | ELISA reader | 1 | Piece |
| 5 | Automatic pipette, 12 channels (5–50 μl) | 1 | Piece |
| 6 | Automatic pipette, 12 channels (50–250 μl) | 1 | Piece |
| 7 | Automatic pipette (2–20 μl) | 1 | Piece |
| 8 | Automatic pipette (25 μl) | 1 | Piece |
| 9 | Automatic pipette (10–100 μl) | 1 | Piece |
| 10 | Automatic pipette (20–200 μl) | 1 | Piece |
| 11 | Automatic pipette (10–100 μl) | 1 | Piece |
| 12 | Automatic pipette (100–1000 μl) | 1 | Piece |
| 13 | Automatic pipette (50–300 μl) | 1 | Piece |
| 14 | Microbiological safety cabinet (laminar flow) | 1 | Piece |
| 15 | Thermostat | 1 | Piece |
| 16 | Technical balance (0–1000 g) | 1 | Piece |
| 17 | Magnetic stirrer | 1 | Piece |
| 18 | Freezer (-20°C) | 1 | Piece |
| 19 | Refrigerator (5°C) | 1 | Piece |
| 20 | Centrifuge | 1 | Piece |
| 21 | Microcentrifuge | 1 | Piece |
| 22 | Mixer (vortex) | 1 | Piece |
| 23 | Magnetic stirrer (additional) | 1 | Piece |
| 24 | Digital thermometer with external probe (for refrigerator and freezer) | 2 | Pieces |
| 25 | UV lamp (for laboratory disinfection) | 1 | Piece |

6. Washing and Sterilization Room

Purpose:
Dedicated area for decontamination, washing, and sterilization of laboratory materials.

The area should be divided into two separate rooms:

- Room 1 (“Dirty Zone”): For receiving used containers and materials for decontamination.

- Room 2 (“Clean Zone”): For washing and sterilizing reusable materials (glassware, scissors, scalpels, etc.).

These two rooms must be connected by an internal door, allowing movement only from the “dirty” to the “clean” area.

Access should be restricted to authorized personnel only, and the workflow must ensure a one-way movement from Room 1 to Room 2.

Technical requirements:

- Large sink (built-in or tiled) with a distillation unit installed above it.

- Vertical autoclave with steam discharge pipe.

- Sterilizer/Air sterilizer for final sterilization of reusable materials after washing.

- Benches and floors must be made of easy-to-clean and disinfect materials.

7. Cold Storage Room (-20°C, -80°C, and +5±3°C)

Description:
A dedicated temperature-controlled room equipped with continuous monitoring systems, alarm sensors, and backup UPS units.

Purpose:
Used for the storage of:

- Biological samples,

- Culture media and diagnostic kits,

- Reference strains and isolates.

8. Infectious Waste Collection Area

Designated area for the collection and temporary storage of infectious waste prior to disposal, in accordance with biosafety and waste management regulations.

9. Offices and Administrative Areas

Description:

- Dedicated offices for staff and document management.

- Must be physically separated from laboratory workspaces.

- Designed to provide a clean and quiet environment for administrative and reporting activities.

1.2. Special Environmental Requirements

Necropsy Room

- The area must have tiled walls and floors made of materials that are washable, easy to clean, and disinfect.

- The floor must have a drainage system (slope with drain).

- This area is considered a “dirty zone” and must be located on the ground floor, with a separate and restricted entrance for authorized personnel only.

- Preferably, it should have internal communication access with the diagnostic laboratory and the reception area.

Laboratory Areas

- Each laboratory must be equipped with a sink.

- Benches and floors must be made of materials that are easy to clean and disinfect.

- Room temperature: controlled by air conditioning between 20–24°C.

- Relative humidity: maintained between 40–60%.

- Air sterilization: UV air sterilization systems must be installed in all laboratory areas.

FOOD MICROBIOLOGY LABORATORY

For the Establishment and Operation of Regional Laboratories in the Field of Food Microbiology

1. Purpose

The main objective is the reorganization and revitalization of the laboratory system to make it more effective, safer, and reliable in addressing food safety challenges through:

- Improvement of infrastructure related to the reorganization of existing laboratory facilities and the establishment of new laboratories, as well as the enhancement of good laboratory practices in accordance with the services/methods to be provided, based on manuals and standards for Biosafety Level 2 laboratories.

- Fulfilment of EU requirements for official controls related to food safety criteria and hygiene process standards that impact public health.

- Supporting competent authorities in assessing the national situation and improving preventive and control measures to ensure consumer health protection.

- Supporting domestic producers in preventing and controlling food products with economic impact, resolving production process issues to prevent risks to human health.

- Ensuring high-quality performance and preparation for accreditation according to international standards (ISO/IEC 17025).

2. Objectives

- Reorganization of laboratory facilities in full compliance with the requirements derived from guidelines and standards for microbiological laboratories (Guide AML 2023).

- Establishment of laboratory infrastructure that meets the requirements of a Biosafety Level 1–2 microbiology laboratory.

- Implementation of analytical methods in accordance with international ISO standards.

- Strengthening laboratory capacities with the necessary equipment and materials for the analyses/services that these laboratories will be authorized to perform.

- Enhancement of existing technical capacities through staff training and the development of capabilities for implementing a Quality Management System (QMS) and achieving accreditation under ISO/IEC 17025.

- Increasing the number and stability of human resources, as well as improving recruitment criteria.

- Increasing and harmonizing sustainable budgets.

3. Scope of Work

Regional laboratories will cover:

- Reception and registration of food samples for human and animal consumption.

- Performance of analyses to verify compliance with food safety criteria and hygiene process requirements for food products.

- Implementation of National Monitoring Programs and participation in official control activities.

- Reporting of analytical results to the competent authorities.

- Preservation and archiving of samples and results in compliance with traceability standards.

4. Main Responsibilities

Laboratory Staff:

- Performing analyses.

- Documentation and record keeping.

- Implementation of quality manuals.

- Management of laboratory waste.

- Planning of laboratory material and equipment needs.

Regional Coordinator:

- Management of the laboratory according to standards, orders, and instructions issued by the competent authority.

- Planning of needs and ensuring opportunities for periodic or ad-hoc training of technical staff as required.

- Reporting and communication with the National Reference Center.

- Identification of budgetary needs and forecasting for authorized services.

Central Authority:

- Supervision and oversight.

- Provision of stable human and financial resources.

- Integration into the national and European laboratory networks.

5. Expected Results

- Fully operational laboratories in compliance with EU standards.

- Established Standard Operating Procedures (SOPs).

- Quality Manual and procedures developed in accordance with ISO/IEC 17025 requirements.

- Periodic analytical reports on microbiological criteria and hygiene process compliance in accordance with the applicable Guidelines and Regulations (Regulation 2073/2005).

List of Equipment for Current and Expected Services

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Electronic technical balance | 1 | Piece |
| 2 | Incubator (37°C) | 1 | Piece |
| 3 | Incubator (30°C) | 1 | Piece |
| 4 | Incubator (41.5°C) | 1 | Piece |
| 5 | Incubator (44°C) | 1 | Piece |
| 6 | CO₂ incubator (37°C) | 2 | Pieces |
| 7 | Air sterilizer (Aerosteril) | 1 | Piece |
| 8 | Microbiological safety cabinet (laminar flow) | 1 | Piece |
| 9 | Freezer (-20°C) | 2 | Pieces |
| 10 | Refrigerator (5°C) | 2 | Pieces |
| 11 | Ultra-low temperature freezer (-80°C) | 1 | Piece |
| 12 | Microscope | 1 | Piece |
| 13 | Colony counter | 1 | Piece |
| 14 | Tube shaker/mixer | 1 | Piece |
| 15 | Plate shaker/mixer | 1 | Piece |
| 16 | Stomacher (sample homogenizer) | 1 | Piece |
| 17 | Blender | 1 | Piece |
| 18 | Centrifuge for tubes | 1 | Piece |
| 19 | Microwave oven | 1 | Piece |
| 20 | Stainless steel filtration system | 1 | Piece |
| 21 | Digital thermometer with external probe (for refrigerators, freezers, incubators, and water baths) | 11 | Pieces |
| 22 | Electronic pipette (100–1000 μl) / Automatic pipette | 1 | Piece |
| 23 | Water bath | 1 | Piece |

Organization of Workspaces

A Microbiological Laboratory must include at least the following separated areas and follow the no-way back sample flow logic (entry → analysis → reporting):

10. Reception and Sample Registration

- Samples are physically verified in accordance with the acceptance criteria for the laboratory’s authorized services.

- After verification and confirmation of the accompanying documentation, samples are labeled and entered into the LIMS system.

- A dedicated area equipped with a bench for weighing, temperature measurement, and labeling of samples, and a refrigerator for temporary sample storage.

- Computers are used for entering data into the LIMS system.

- Ideally, this area should have two doors: one external (for sample entry) and one internal (for communication with the laboratories).

Required Equipment:

| No. | Equipment Description | Quantity | Unit |
| --- | --- | --- | --- |
| 1 | Refrigerator (5°C) | 1 | Piece |
| 2 | Freezer (-20°C) | 1 | Piece |
| 3 | Digital thermometer with external probe | 1 | Piece |
| 4 | Probe thermometer for temperature control | 1 | Piece |
| 5 | Computer | 1 | Piece |
| 6 | Electronic technical balance | 1 | Piece |
| 7 | Printer | 1 | Piece |

11. Laboratory Areas for Microbiological Analyses

- No-way back workflow organization: divided into two separate rooms:

  - Room 1: for preliminary processing and storage of samples, equipped with a sink (activities include weighing, homogenization, and distribution).

  - Room 2: for incubation, reading, and assessment; equipped with a laminar flow cabinet, refrigerator/freezer for storage of media, kits, and strains.

- Benches and flooring made of materials that are easy to clean and disinfect.

- Every laboratory area must have a functional sink.

- Electrical and water systems must ensure continuous and safe operation.

12. Washing and Sterilization Room (Decontamination Area)

- Divided into two zones:

  - Dirty area: where glassware and equipment arrive for decontamination.

  - Clean area: for washing and sterilizing reusable materials (glassware, scissors, scalpels).

- These two areas must communicate through an internal door allowing movement only from the dirty to the clean area.

- Personnel access should be restricted, and the workflow must follow a one-direction flow (from dirty to clean).

- Includes an autoclave for decontamination, a large sink with a distiller for washing reusable materials, and a sterilizer/Aerosteril for final sterilization after washing.

13. Offices and Administrative Areas

- Dedicated areas for staff and document management.

- Must be physically separated from laboratory spaces.

II. Structural Requirements

- Establishment of a sample reception office with a dedicated external entrance and connection to an elevator for sample movement.

- Must include a sink, bench, and flooring made of materials easy to clean and disinfect.

- The laboratory itself must be divided into two rooms, each equipped with a bench, sink, and easily cleanable/disinfectable floor and surfaces.

- Room temperature: maintained at 20–24°C with air conditioning.

- Electrical requirements: three-phase power line where biosafety cabinets (laminar flow hoods) are installed.

- Electrical and plumbing systems must ensure continuous and compliant supply according to laboratory standards.

• Washing and Sterilization Area (Lavanteria)

- A large sink, either prefabricated or built-in with brick and tiled surfaces, must be installed, with a distiller placed above it.

- The autoclave must be vertical and equipped with a steam exhaust pipe.

- The area must be divided into two separate rooms:

  - Room 1: containing the autoclave, sink, and distiller for washing and decontamination.

  - Room 2: containing the Aerosteril (hot air sterilizer) and cabinets for storing reusable laboratory materials.

- Benches and flooring must be made of materials that are easy to clean and disinfect.

Preparation Laboratory

The Preparation Laboratory should consist of two interconnected rooms to allow internal communication.

- One room (the laboratory) should preferably have a large central table, built with bricks and topped with a marble slab.

- The washing room (Lavanteria) must have a large sink, either prefabricated or brick-built and tiled. The distiller must be placed above the sink.

- The area designated for the autoclave must have a three-phase electrical outlet and a dedicated exhaust pipe for autoclave steam discharge.

Special Environmental Requirements:

- The rooms must be dry and free of humidity, as moisture negatively affects the sterility of media by encouraging mold spores that can contaminate the culture media.

- Avoid positioning the rooms on the north side or on the first floor if possible.

- Benches and flooring must be made of materials that are easy to clean and disinfect.

- Ambient temperature: controlled at 20–24 °C via air conditioning.

- Relative humidity: maintained between 40–60%.

- Air sterilization: achieved using UV lamps in the laboratory room.

Equipment and Devices for the Preparation of Culture Media

| No. | Equipment Name | Location / Process |
| --- | --- | --- |
| 1 | Analytical Balance | Laboratory / weighing dehydrated media |
| 2 | Microbiological Cabinet with Laminar Flow | Laboratory / media dispensing |
| 3 | Heated Shaker | Laboratory / melting and homogenizing media |
| 4 | pH Meter | Laboratory / measuring media pH |
| 5 | Media Distributor | Laboratory / media dispensing |
| 6 | Digital Thermometer with External Probe | Washing room / monitoring temperatures of refrigerators and water baths |
| 7 | Furnace | Laboratory / melting media |
| 8 | Aerosteril (Hot Air Sterilizer) | Laboratory / sterilizing reusable materials |
| 9 | Refrigerator | Laboratory / storing supplements and prepared media |
| 10 | Distiller | Washing room / producing water for media preparation |
| 11 | Water Bath | Washing room / rapid cooling of media after autoclaving |
| 12 | Autoclave for Sterilization | Washing room / sterilizing media |
| 13 | Laboratory Furniture (including work benches) | Laboratory / Washing room |
| 14 | Chemical Safety Cabinets | Laboratory |

Pesticide Residue Laboratory

For Establishing a Laboratory for Analysis of Pesticide Residues in Plant-Origin Products

1. Purpose and Scope

This document defines the technical and infrastructural requirements for establishing a new laboratory for the analysis of pesticide residues in plant-origin products, compliant with international standards ISO/IEC 17025, SANTE/11312/2021 guidelines, and European Union regulations for pesticide residue control in food.
The laboratory will specialize in the qualitative and quantitative analysis of pesticide residues in fruits, vegetables, cereals, and other plant-based products.

2. Objectives

- To design and establish a laboratory certifiable under ISO/IEC 17025.

- To equip the laboratory with modern analytical instruments for multi-residue pesticide analysis.

- To ensure technical and environmental infrastructure for stable and safe operation.

- To develop analytical methods harmonized with international standards (SANTE, EN).

3. Requirements for Laboratory Spaces and Infrastructure

| No. | Room / Area Name | Main Function | Minimum Area (m²) | Technical Requirements |
| --- | --- | --- | --- | --- |
| 1 | Sample Receiving Area | Sample registration and initial inspection | 15 | Natural and artificial lighting, easy-to-clean surfaces |
| 2 | Sample Storage Area | Refrigerated storage at -20°C | 20 | Laboratory refrigerators, temperature control, alarm system |
| 3 | Sample Preparation, Extraction, and Concentration Area | Homogenization, weighing, mixing, extraction preparation | 40 | Chemical hoods, local ventilation, laboratory tables, analytical balances, stainless steel homogenizer, centrifuge, vertical shaker, etc. |
| 4 | Instrument Room 1 | LC-MS/MS analysis | 30 | Temperature control (20–22°C), humidity <50%, antivibration setup, UPS backup |
| 5 | Instrument Room 2 | GC-MS/MS analysis | 30 | Temperature control (20–22°C), humidity <50%, antivibration setup, UPS backup |
| 6 | Chemical and Solvent Storage | Storage of hazardous reagents | 15 | Ventilated cabinets, smoke detectors, resistant flooring |
| 7 | Office and Personnel Area | Administrative work and report processing | 20 | Air conditioning, adequate lighting, IT network infrastructure |
| 8 | Training Room and Sample Archive | Documentation, SOPs, personnel training | 15 | Security system and attendance control |

Technical Infrastructure Requirements

| Technical Element | Minimum Required Specifications |
| --- | --- |
| Electrical Supply | Three-phase line, UPS for analytical instruments (≥30 min), backup generator |
| Water | Drinking water line and ultrapure water system (Milli-Q) |
| Instrument Gases | Nitrogen, Helium (≥99.999%); dedicated line with pressure regulators and safety alarms |
| Conditioning and Ventilation System | Temperature control ±2°C, positive and negative pressure, fume hoods with external ventilation |
| Drainage | Chemical drainage with neutralization tank; separation for clean water and process water |
| Lighting | Adequate lighting in work areas |
| Safety | Emergency equipment (eyewash, shower, fire extinguisher), gas and temperature detectors |

5. Analytical and Auxiliary Equipment

| No. | Equipment | Minimum Technical Specification | Quantity |
| --- | --- | --- | --- |
| 1 | LC-MS/MS (Triple Quadrupole) | Multiresidue analysis; detection limit ≤0.01 mg/kg; autosampler; integrated software | 1 |
| 2 | GC-MS/MS (Triple Quadrupole) | Non-polar pesticide multiresidue analysis; split/splitless injector; detection limit ≤0.01 mg/kg; autosampler; integrated software | 1 |
| 3 | Refrigerated laboratory centrifuge 50/15 ml | Various rotors 50/15 mL, up to 15,000 rpm | 1 |
| 4 | Analytical balance | Precision 0.01 g; electronic stabilization | 2 |
| 5 | Analytical balance | Precision 0.1 mg; electronic stabilization | 1 |
| 6 | Ultrasonicator | Frequency 40 kHz; power ≥150 W | 1 |
| 7 | Refrigerator and freezer (-20°C, -80°C) | Sample and standards storage, extraction | 3 |
| 8 | LIMS system | Software for sample management and analytical reporting | 1 |
| 9 | Homogenizer / grinder for samples | For uniform homogenization | 1 |
| 10 | Vortex mixers | For QuEChERS | 2 |
| 11 | Ultrapure water production instrument | For ultrapure water 10L/H, ≥18.25 MΩ | 1 |

6. Consumable Materials, Reference Standards & QC

- QuEChERS kits according to EN15662.

- Pesticide standards for analytes/pesticide classes.

- Reagents according to EN15662.

- Vials, syringes, filters (PTFE, 0.2 µm), etc.

- Quality control documentation.

7. Applicable Methods and Standards

- Standardized method: EN 15662 (QuEChERS) for extraction + LC-MS/MS and GC-MS/MS for multi-residue analysis.

- ISO/IEC 17025: Laboratory competence and calibration.

- SANTE/11312/2021: Method validation, LOD/LOQ, linearity, recovery, precision, matrix effects.

- EU pesticide database: For monitoring pesticide residues in food.

8. Support Infrastructure and Safety

- Gas system with manifold and pressure/flow monitoring.

- Local exhaust for fume hoods and extraction areas with negative pressure.

- Conditioning system with temperature control ±2°C and humidity <50%.

- Anti-vibration tables for instruments.

- UPS and backup generator for critical instruments.

- LIMS with secure data backup.

- Emergency equipment: eyewash, shower, fire extinguishers, gas detectors.

9. Accreditation and Quality Control

- Full implementation of ISO/IEC 17025.

- SOPs for every analytical phase.

- Method validation according to SANTE/11312/2021 and EN-15662.

- Participation in proficiency tests.

10. Delivery and Acceptance Criteria

- Installation and testing of equipment according to specifications.

- Delivery of technical manuals and calibration certificates.

- Training of personnel for use and maintenance of instruments.

- Conducting trial analyses according to EN 15662 method for at least 200 analytes.

- Demonstration of LOQ/LOD and proficiency test results.

PLANT PEST DIAGNOSTIC LABORATORY
For the establishment and operation of Regional Laboratories for Plant Pest Diagnostics.

1. Purpose

The main purpose is to ensure an efficient diagnostic system for:

- Rapid and accurate identification of plant pests,

- Compliance with EU phytosanitary control requirements,

- Supporting competent authorities in taking preventive and restrictive measures,

- Ensuring high quality and preparation for accreditation according to international standards (ISO/IEC 17025).

2. Objectives

- Establishment of laboratory infrastructure for plant pest diagnostics.

- Implementation of analytical methods according to EPPO (European and Mediterranean Plant Protection Organization) guidelines.

- Compliance with EU Regulation (EU) 2016/2031 on plant health and accompanying documents.

- Equipping laboratories with necessary instruments and materials for analyses.

- Training staff and building capacity for accreditation under ISO/IEC 17025.

3. Scope of Work

Regional laboratories will cover:

- Collection, reception, and registration of samples.

- Analyses for pest diagnosis (insects, nematodes, fungi, bacteria, viruses, weeds).

- Reporting results to competent authorities.

- Storage and archiving samples and results according to traceability standards.

4. Main Responsibilities

- Laboratory staff: performing analyses, documentation, implementation of quality manuals.

- Regional coordinator: laboratory management, reporting, and communication with the national reference laboratory.

5. Expected Outcomes

- Functional laboratories according to EU and EPPO standards.

- Standard Operating Procedures (SOPs).

- Quality manual and procedures for ISO/IEC 17025.

- Periodic reports on diagnostic activities.

ANNEXES

Annex I – Types of Analyses according to EU requirements

- Morphological and microscopic diagnosis of insects and nematodes.

- Serological analysis (ELISA) for plant viruses.

- Molecular analysis (PCR, qPCR, RT-PCR) for identification of bacteria, fungi, and viruses.

- In vitro culturing of fungal and bacterial pathogens.

- Weeds: identification using morphological and molecular methods.

Annex II – Analytical Methods and Standards according to EPPO

- EPPO Diagnostic Protocols (PM 7/xxx series) for specific pathogens and pests.

- EPPO Standards PM 3 – Procedures for inspections and sampling.

- EPPO Standards PM 9 – Risk management plan.

Annex III – Laboratory Equipment and Furniture

- Optical microscopes and stereomicroscopes.

- Thermocycler (PCR/qPCR).

- Biosafety cabinets (BSC II).

- Incubators and climate chambers.

- ELISA reader and washer.

- Equipment for electrophoresis and gel documentation.

- Refrigerators and freezers (-20°C, -80°C).

- Laboratory furniture (workbenches, sinks, safety cabinets for chemicals).

- Laboratory data management software (LIMS).

Annex III.1 – Laboratory Equipment and Furniture (with technical specifications and quantities for one laboratory)

Table 1. Essential Equipment for Morphological and Microscopic Diagnosis

| Equipment | Minimum Technical Specifications | Quantity (per laboratory) |
| --- | --- | --- |
| Optical Microscope (biological) | Magnification 40x–1000x, plan-achromatic objectives, LED illumination, integrated digital camera ≥5 MP | 2 |
| Stereomicroscope | Magnification 10x–80x, LED top and bottom illumination, digital camera ≥5 MP | 2 |
| Portable Binocular Loupe | Magnification 10–40x, rechargeable battery | 2 |

Table 2. Equipment for Molecular Diagnosis

| Equipment | Minimum Technical Specifications | Quantity |
| --- | --- | --- |
| qPCR Real-Time System | 96 wells, detection ≥4 fluorescent channels, analysis software, automatic reporting | 1 |
| Biosafety Cabinet Class II | EN 12469 standard, vertical laminar flow, ≥ 90 cm width, safety alarm | 1 |
| Laboratory Centrifuge | Rotor for 1.5/2 ml and 15 ml tubes, speed up to 15,000 rpm, digital display | 1 |
| Variable Micropipettes | Set (0.5–10 µl, 10–100 µl, 100–1000 µl) | 3 sets |

Table 3. Equipment for Serological Diagnosis

| Equipment | Minimum Technical Specifications | Quantity |
| --- | --- | --- |
| ELISA Reader | Spectrum 400–750 nm, 96 wells, analysis software, digital screen | 1 |
| ELISA Washer | 96 wells, ≥3 washing channels, separate reservoirs for buffers and wash solutions | 1 |
| CO₂ or Standard Incubator | 37 °C, control ±0.1 °C, volume ≥ 150 L | 1 |

Table 4. Auxiliary and Support Equipment

| Equipment | Minimum Technical Specifications | Quantity |
| --- | --- | --- |
| Refrigerator (-20 °C) | Capacity ≥ 300 L, digital displays, temperature alarm | 1 |
| Freezer (-80 °C) | Capacity ≥ 300 L, battery backup alarm | 1 |
| Autoclave | Capacity ≥ 50 L, digital control, temperature recording | 1 |
| Laboratory Benches | Surface resistant to acids, bases, and organic solvents (to be defined per environment) | 3 |
| Chemical Safety Cabinet | EN 14470 standard, fire resistance ≥30 min | 1 |
| Liquid Nitrogen Dewar (30 L) | For sample and culture storage | 1 |

Annex IV – International Standards and Accreditation

- ISO/IEC 17025:2017 – Competence of testing and calibration laboratories.

- Regulation (EU) 2017/625 on official controls.

- EPPO guidelines for quality and verification of diagnostic methods.

Annex V – Laboratory Building Infrastructure

1. Location and Building

- The building must be separated from contamination risk areas (agricultural fields, pesticide storage, livestock barns, etc.).

- It must provide controlled access for personnel and visitors.

- It should have a physical security system (cameras, alarms).

2. Organization of Workspaces
A diagnostic laboratory should have at least the following separate rooms and follow the logical flow of samples (from entry → analysis → reporting):

- Reception and Sample Registration

- Dedicated area with a registration desk and refrigerator for temporary storage.

- Incoming samples must not enter clean areas before processing.

- Sample Preparation Room

- Initial processing (homogenization, surface sterilization, separation).

- Easy-to-clean flooring for disinfection.

- Morphological/Microscopic Analysis Room

- Optical microscopes/stereomicroscopes.

- Controlled lighting (windows with UV curtains or LED artificial lighting).

- Molecular Room – PCR/qPCR

- Clean area (pre-PCR): for reagent preparation, free of amplified DNA.

- Contaminated area (post-PCR): for PCR product analysis.

- These areas must be physically separated to avoid contamination.

- Serology Room (ELISA, Cell Culture)

- Incubators, ELISA reader/washer.

- Controlled, dust-free atmosphere.

- Microbial Culture Room

- Incubators, biosafety cabinets, autoclave.

- Controlled ventilation with negative pressure for biological safety.

- Chemical and Solvent Storage

- Safety cabinets according to EN 14470.

- Independent ventilation system.

- Refrigeration Equipment Room (-20°C, -80°C, Liquid Nitrogen)

- With safety alarm and backup UPS.

- Offices and Administrative Spaces

- For scientific staff and reporting.

- Separated from laboratory areas.

- Sterilization and Waste Management Area

- Autoclave for biological waste.

- Separate containers for infectious, chemical, and general waste.

3. Environmental Requirements

- Ambient temperature: 20–24 °C (individual temperature control for laboratory rooms).

- Relative humidity: 40–60 %.

- Lighting: ≥500 lux at workbenches; filtered natural light where possible.

- Ventilation:

  - Molecular and microbiological laboratories → air system with positive/negative pressure according to function.

  - HEPA H14 filters for sensitive rooms.

- Air sterilization with UV:

  - In molecular rooms (pre-PCR).

  - Equipment must have automatic timers and safety protection.

4. Building Materials

- Flooring: PVC or epoxy resistant to chemicals, seamless to prevent cracks.

- Walls and ceiling: smooth surfaces, easy to disinfect, moisture resistant.

- Doors: hermetically sealed with viewing windows for safety.

5. Safety Systems

- UPS and backup generator for critical equipment (PCR, freezers, refrigerators).

- Temperature alarm system (e.g., -20°C, -80°C).

- Fire extinguishing equipment: according to EN 3-7 standards.

- Evacuation plan and emergency exit routes.

6. Reference Standards

- ISO/IEC 17025:2017 – Laboratory competence.

- EN 12469:2000 – Biosafety cabinets (performance criteria for microbiological safety cabinets).

- EPPO PM 7 – Diagnostic protocols.

- WHO Laboratory Biosafety Manual (4th edition).

CONTAMINANTS LABORATORY
For the Establishment of the Regional Laboratory for Chemical Contaminants Analysis (Mycotoxins and Heavy Metals)

1. Purpose and Scope

This document defines the technical and infrastructural requirements for establishing a Regional Laboratory specialized in the analysis of chemical contaminants, including mycotoxins (e.g., Aflatoxin M1) and heavy metals (Pb, Cd, Hg, As, etc.), in compliance with international standards ISO/IEC 17025, regulations EC 1881/2006, EC 401/2006, and Codex guidelines for food safety.

The laboratory will conduct quantitative and qualitative analyses of food products of plant and animal origin and will serve as the regional unit for contaminants control.

2. Objectives
• To design and establish a regional laboratory certifiable according to ISO/IEC 17025.
• To equip the laboratory with analytical instruments for the analysis of mycotoxins and heavy metals.
• To ensure the technical and environmental infrastructure for sustainable and safe operation.
• To develop analytical methods harmonized with international standards and EU guidelines.

3. Requirements for Premises and Infrastructure
3.1 Functional division of laboratory spaces

| No. | Room/Area Name | Main Function | Minimum Area (m²) | Technical Requirements |
| --- | --- | --- | --- | --- |
| 1 | Sample Receiving Area | Registration and initial inspection of samples | 15 | Natural and artificial lighting, easy-to-clean surfaces |
| 2 | Sample Storage Area | Refrigerated and frozen storage | 20 | Refrigerators and freezers, temperature control, alarm system |
| 3 | Sample Preparation Area | Homogenization, weighing, mixing, extraction preparation | 40 | Fume hoods, local ventilation, lab benches, analytical balances, homogenizer/grinder |
| 4 | Extraction and Concentration Area | Extraction, cleaning, concentration | 50 | Centrifuge, vertical shaker, vacuum aspiration, water bath, evaporator |
| 5 | Instrument Room | ICP-MS, Elisa reader, etc. | 30 | Temperature control (20–22°C), humidity <50%, antivibration, UPS |
| 6 | Chemical and Solvent Storage | Storage of hazardous reagents | 15 | Ventilated cabinets, smoke detector, resistant flooring |
| 7 | Office and Staff Area | Administrative work and report processing | 20 | Air conditioning, adequate lighting, IT network |
| 8 | Training and Archive Room | Documentation, SOPs, staff training | 15 | Security system and attendance control |

4. Technical Infrastructure Requirements

| Technical Element | Minimum Required Specifications |
| --- | --- |
| Electrical Supply | Three-phase line, UPS for critical equipment (≥30 min), backup generator |
| Water | Drinking water line and ultrapure water system (Milli-Q) |
| Instrument Gases | Argon (≥99.999%), dedicated line with pressure regulators and safety alarm |
| Conditioning and Aspiration System | Temperature control ±2°C, positive and negative pressure, fume hoods with external ventilation |
| Drainage | Chemical drainage with neutralization tank, separation for clean water and process water |
| Lighting | Adequate lighting for different work areas |
| Safety | Emergency equipment (eyewash, shower, fire extinguishers), gas and temperature detectors |

5. Proposed Analytical and Support Equipment

HEAVY METALS LABORATORY

- Atomic Absorption Spectroscopy (AAS) — 1 unit
AAS with Zeeman and deuterium background correction furnace and flame AA spectrometer with autosampler, hydride generation, and cold vapor system

- ICP-MS — 1 unit
Inductively Coupled Plasma Mass Spectrometry (ICP-MS)

- Microwave Furnace for Digestion — 1 unit

- Analytical Balance — 1 unit
Analytical balance 220 g capacity, readability 0.1 mg

- Refrigerator — 1 unit
Refrigerator 4-8 °C

- Refrigerator Freezer — 1 unit
Refrigerator freezer -20 °C

- Blender — 1 unit
Laboratory blender with at least 2-liter capacity, stainless steel container, variable speed up to 18,000 rpm

- Water Distiller — 1 unit
Type 1 water distiller with conductivity 18 megaohm

MYCOTOXINS LABORATORY

- ELISA Reader — 1 unit
For ELISA testing

- Microplate Washer — 1 unit
ELISA microplate washer with at least 8-way manifold, for 96-well plates

- Vortex — 1 unit
Multi-position vortex for 15 and 50 ml tubes, speed range 500 to 2500 rpm, with top tray, foam tube racks for at least 15 tubes of 50 ml and 50 tubes of 15 ml, with overhead support plate

- Ultrasonic Water Bath — 1 unit
Ultrasonic bath with minimum 18-liter capacity, stainless steel wire basket

- Technical Balance 0.01 g — 1 unit

- Incubator — 1 unit

- Rotating Shaker — 1 unit
Tube rotating shaker with variable speed for at least 20 samples of 15 ml and 10 samples of 50 ml

- Centrifuge — 1 unit
Centrifuge with 16 positions

- Refrigerator Freezer -20 °C — 1 unit
For sample storage

- Refrigerator 4-8 °C — 1 unit
For standards storage

- Blender — 1 unit
Laboratory blender with at least 2-liter capacity, stainless steel container, variable speed up to 18,000 rpm

- Chemical Storage Cabinets — 1 unit
For chemical storage

- SPE with Vacuum System — 1 unit
Vacuum system

- Vaporizer — 1 unit
Nitrogen stream vaporizer

- Water Distillation Machine — 1 unit

- pH Meter — 1 unit
For reagent preparation and general use

6. Consumables, Reference Standards & QC
• Reagents and standards for mycotoxins and heavy metals.
• Consumables: vials, PTFE filters 0.2 µm, syringes, and others for extraction and analysis.
• Quality control documentation.

7. Applicable Methods and Standards
• Validated methods according to EC 1881/2006, EC 401/2006, ISO/IEC 17025.
• ISO/IEC 17025: Laboratory competence and calibration.
• Codex and EFSA guidelines for mycotoxins and heavy metals.
• Method validation: LOD/LOQ, linearity, recovery, precision, matrix effects.

8. Supporting Infrastructure and Safety
• Gas system with manifold and pressure/flow monitoring.
• Local aspiration for fume hoods and extraction areas with negative pressure.
• Conditioning system with temperature control ±2°C and humidity <50%, antivibration tables.
• UPS and backup generator for critical instruments.
• LIMS with secure data backup.
• Emergency equipment: eyewash, shower, fire extinguishers, gas detectors.

9. Accreditation and Quality Control
• Full implementation of ISO/IEC 17025.
• SOPs for each analytical phase.
• Method validation according to relevant guidelines.
• Participation in proficiency testing.

10. Delivery and Acceptance Criteria

- Installation and testing of equipment according to function.

- Delivery of technical manuals and calibration certificates.

- Training of personnel for operation and maintenance of instruments.

- Conducting test analyses according to standard methods.

- Demonstration of LOQ/LOD and proficiency test results.

CURRENT SITUATION OF REGIONAL LABORATORIES

I. REGIONAL LABORATORY KORÇË

Korçë (covering the areas of Korçë, Pogradec, Devoll, Kolonjë, and 3 PIKs, as well as Elbasan). The most important products for the covered areas/regions are dairy products, honey, fruit juices and jams, wheat/flour, sunflower/corn oil, animal origin products (salami, milk, cheese, yogurt, etc.), as well as meat and poultry processing companies with slaughterhouses in the region.

This laboratory has not received investments over the years.
Current services in animal health, chemical-physical, microbiological, and plant protection fields need to continue.

ANIMAL HEALTH LABORATORIES
Current services

|  | Description of test | Sample/test items |
| --- | --- | --- |
| 1 | Determination of colibacillosis |  |
| 2 | Isolation and identification of Salmonella spp. | Environment, poultry carcasses and feces |
| 3 | Rapid sedimentation method of for determination of fasciolosis | Animal organs and feces |
| 4 | Determination of colibacillosis | Animal blood |
| 5 | Isolation and identification of Salmonella spp. | Animal milk |
| 6 | Anthrax diagnosis | Animal blood and organs |
| 7 | Enterotoxemic disease diagnosis | Animal organs |
| 8 | Determination of pathogens in mastitis infections | Animal milk |
| 9 | Determination of bovine anaplasmosis | Animal blood |
| 10 | Determination of bovine babesiosis | Animal blood |
| 11 | Determination of bee nosemmosis | Bee |
| 12 | Determination of coccidiosis, histaminases and trichomoniases in poultry | Poultry organs |
| 13 | Determination of scabies in animal | Animal skin |
| 14 | Determination of nematodes with Bergman method | Animal feces |
| 15 | Determination of bee varroosis | Bee |
| 16 | Nekrosi ne kafshe dhe shpende |  |
| 17 | Brucellosis (serogycal screening test) | (animals blood) |

PHYSICO-CHEMICAL LABORATORY

Current services

|  | Description of physical chemistry test | Sample/test items |
| --- | --- | --- |
| 1 | Density | Raw milk & milk for consumption |
|  | Total dry matter |  |
|  | Acidity |  |
|  | Cryoscopic point |  |
|  | Fat content |  |
| 2 | Moisture content | cheese |
|  | Acidity |  |
|  | Fat content |  |
|  | Salt content |  |
| 3 | Moisture content | butter |
|  | Acidity |  |
|  | Salt content |  |
|  | Fat content |  |
| 4 | Moisture content | Sampling of powdered milk |
|  | Acidity |  |
|  | Fat content |  |
|  | Peroxide values |  |
| 5 | Acidity | yoghurt |
|  | Fat content |  |
| 6 | Moisture | pasta |
|  | Volume after boiling |  |
| 7 | Moisture | bread |
|  | Acidity |  |
|  | Porosity |  |
|  | Salt content |  |
| 8 | Moisture | flours |
|  | Ash |  |
|  | Acidity |  |
|  | Gluten content |  |
|  | Protein contenr |  |
|  | Particle size of grains |  |
| 9 | Moisture of yeast | yeast |
|  | Acidity |  |
| 10 | Moisture content | cereals |
|  | Determination of damage from pests |  |
| 11 | Moisture | salami, ham, minced meat, etc |
|  | Fat |  |
|  | Nitrites |  |
| 12 | Acidity | oil |
|  | Density |  |
|  | Moisture |  |
|  | Saponification number |  |
|  | Iodine |  |
|  | Non-Saponification matter |  |
|  | Peroxide values |  |
|  | Absorbance coeficent |  |
|  | Refractive index |  |
| 13 | amount of meat to canned mass% | canned fish |
|  | salt in% |  |
| 15 | Alkalinity in degrees | dough products (pie, pancakes, waffle, etc.) |
|  | Insoluble ashiIn HCl 10% to% |  |
| 16 | Moisture in% | foods in powder form |
|  | insoluble ash in HCl 10% to% |  |
|  | acidity in % |  |
| 17 | Moisture in% | starch |
|  | ash in dry matter in% |  |
|  | acidity in ml NaOH 0.1N / 100 gr starch |  |
| 18 | amount of meat to canned mass% | canned meat |
|  | salt in% |  |
| 19 | amount of vegetable to canned mass% | canned vegetable product |
|  | salt |  |
|  | Acidity |  |
| 20 | Total dry matter | sauce tomato |
|  | acidity |  |
| 21 | Moisture in% | dried fruits |
|  | foreign subjects |  |
| 22 | Total dry matter | fresh juice |
|  | acidity |  |
|  | CO2 |  |
| 23 | ethyl alcohol | beer |
|  | total acidity |  |
|  | extract |  |
|  | ash |  |
|  | CO2 |  |
| 24 | ethylic alcohol | wine |
|  | total acidity |  |
|  | volatile acidity |  |
|  | extract |  |
|  | free SO2 |  |
|  | Sulfuric anhydride General |  |
| 25 | ethylic alcohol | alcoholic drinks |
|  | extract |  |
|  | total acidity |  |
| 26 | moisture | salt |
|  | Iodine |  |
| 27 | Total dry residue | natural ëater |
|  | German grade strength |  |
|  | Calcium |  |
|  | Magnesium |  |
|  | CO2 |  |
|  | Bicarbonate |  |
| 28 | Moisture | herbal tea |
|  | debris |  |
| 29 | moisture | coffee and cocoa |
|  | ash |  |
|  | fat |  |
|  | debris |  |
| 30 | TVBN | fresh fish |

List of Proposed Equipment for Service Improvement

| No. | Type of equipment | Number of pieces | Intended use |
| --- | --- | --- | --- |
|  | Chemical Cabinets | 1 | Creation of sterile conditions, elimination of difficulties for employees, to ëork ëith aggressive reagents and different solvents, absorption of vapors and non-contamination of the product |
|  | Automatic Cryoscope | 1 | For the analysis of ëater added to milk, lactose-free milk and creams by determining the cryoscopic point |
|  | Digital Gerber Centrifuge | 1 | For centrifugation of different materials in the lab |
|  | Heating Magnetic Stirrers | 1 | For mixing samples |
|  | Analytical Balance | 1 | To carry out quantitative measurements |
|  | Technical Balance | 1 | Technical or precision balances for the laboratory, for routine checks and industrial analysis must be robust and reliable. |
|  | Centrifuge | 1 | For centrifugation of materials |
|  | UV-VIS spectrophotometer (double beam) | 1 | For carrying out analyzes of ëater, beer, color of drinks, edible oils and biological analyses |
|  | Kjeldahl distillation equipment | 1 | For the analysis of protein as ëell as the TVBN (Total Volatile Basic Nitrogen) in fish |
|  | Protein Disintegration equipment | 1 | For protein analysis |
|  | Digital Refractometer | 1 | To determine the index of refraction, dry matter in different products |
|  | Electronic balance | 1 | For carrying out ëeighing |
|  | Set ëith calibrated scales For checking the scales | 1 | For calibration |
|  | Certified thermometer | 1 | For temperature control in thermostats |
|  | Photometer for determining the values of peroxides in oil | 1 | For oil analysis |
|  | Mixer vortex | 1 | For mixing samples |
|  | Vacuum pump | 1 | For vacuum filtration |
|  | pH meter Laboratori | 1 | Measurement of PH in the product |
|  | Multiparameter for measuring PH and TDS | 1 | For determinations in ëater and various products |
|  | Muffle furnace | 1 | For burns |
|  | Moisture Analysers | 1 | For moisture determination in different products |
|  | Equipment for measuring gluten in food products | 1 | For measuring gluten in food products |
|  | Thermostat for measuring moisture in samples ëith loë moisture (such as oil) | 1 | For measuring moisture in samples ëith loë moisture (such as oil) |
|  | Equipment ëith enzymatic gravimetry that analyzes insoluble fibers in foods | 1 | Analysis of insoluble and soluble fibers in food |
|  | Chemical storage cabinets | 1 | For the storage of chemicals |

MICROBIOLOGY LABORATORY
Current services

|  | Korca | Korca |
| --- | --- | --- |
| FOOD & FEED |  |  |
|  | Campylobacter | X |
|  | Coagulase positive Staphylococci | X |
|  | Escherichia coli (produkt dhe uje) | X |
|  | Listeria monocytogenes | X |
|  | Aerobic Total | X |
|  | Salmonella | X |
|  | NPM Enterobacterium | X |
|  | Parasites (Trichinella, Echinococcus, Anisakis) | X |
|  | The analysis and testing of zoonoses(Salmonella) | X |

Other necessary works:
Complete reconstruction of the building, including the electrical system which must ensure continuous and stable power supply, as well as the hydraulic system, in compliance with the standards according to the requirements of the respective laboratories.

II. REGIONAL LABORATORY DURRËS

- Tirana/Durrës (covering the areas: Tirana, Durrës (eggs and fishery products), Krujë, Shijak, Kavajë, Dibër, and Kukës).

This laboratory has received investments in recent years. The current chemical-physical, microbiological, and plant protection services will need to continue.

1.1 Sectors of Laboratory Services in Durrës

General

Investments have been very significant both in expanding the range of analyses, improving the quality of analyses, and environmental conditions as described below.

There has been a noticeable increase in the number of samples analyzed as a result of the investments from the SAFIAL project "Institutional Strengthening of the Ministry of Agriculture and Rural Development of Albania for Food Safety Management" (started in March 2021 - April 2024), supporting the Laboratory Services Sector at DRAKU-Durrës, financed by Italian Cooperation and implemented by CIHEAM Bari (Mediterranean Agronomic Institute of Bari). There has been a considerable increase in the number of main and auxiliary equipment, as well as reagents, kits, and consumables used in each laboratory.

The investment extended to three laboratories: Physico-Chemical, Microbiological, and Phytosanitary.

The main investment was made in the Phytosanitary laboratory, which was reorganized to enable the implementation of indirect serology techniques, specifically the ELISA immunoenzymatic technique, which is the most widely used technique in plant virology and is extensively used in virus diagnostics due to its specificity, sensitivity, and capability to be applied to a large number of samples.

This method is widely used in pathogen monitoring and seedling certification for virus identification. The project provided equipment, kits, necessary materials, and training for the laboratory specialist specifically for the following pathogens:

- Xylella Fastidiosa (bacteriosis)

- Tomato Brown Rugose Fruit Virus (ToBRFV)

- Tomato Spotted Wilt Virus (ToSWV)

The range of existing analyses has increased due to new incubators that allow the isolation in pure culture media of fungal and bacterial pathogens simultaneously, because of their specifications and capacity. The ELISA technique has also started to be applied, with 10 tomato samples analyzed so far for the two respective viruses, and more samples are expected in the future, including analysis for Xylella Fastidiosa in olives. New techniques and training were also provided by international experts in the Phytosanitary Laboratory premises of DRAKU Durrës.

Regarding the Physico-chemical laboratory, the project provided several pieces of equipment to replace old, non-functional ones, such as:

- Apparatus for determining fat content in packaged products (pastry, biscuits, cigars, etc.)

- Apparatus for determining protein in flour, wheat, and milk

- UV-VIS spectrophotometer for some quality indicators in olive oil (e.g., Δ Kappa) and nitrites in meat by-products (sausages)

- System for analyzing alcohol content in various beverages

- Analyzer for freezing point in milk

- Fibertex for cellulose analysis in food products

Supporting equipment and apparatus were also installed to assist the main processes in food product analysis, thereby not only increasing the range of analyses due to new equipment replacing non-functional ones but also increasing the number of samples and quality indicators. Staff training was provided for the new equipment.

Regarding the Microbiological laboratory, the project invested in increasing equipment to raise the number of samples processed daily. These devices and auxiliary tools improve both the quality of microbiological analyses and staff safety. Equipment introduced includes: incubator, aerosteril, laminar flow hood, centrifuge, stereomicroscope, colony counter, scales, stomacher, etc., completing the laboratory, which is ready for routine analyses, proficiency testing, and various monitoring activities.

In addition to the above, improvements were made in the laboratory environmental conditions, including necessary electrical repairs for the proper functioning of equipment. Two iron cabinets were installed for storing reagents and solvents, along with one printer (shared). Challenges remain with further calibration of devices and, in some cases, lack of training and proper operation.

PHYSICO-CHEMICAL LABORATORY
Current Services

|  | Description of physical chemistry test | Sample/test items |
| --- | --- | --- |
| 1 | Density | Sample of raw milk & milk for consumption |
|  | Total dry matter |  |
|  | Acidity |  |
|  | Cryoscopic point |  |
|  | Fat content |  |
| 2 | Moisture content | Sample of cheese |
|  | Acidity |  |
|  | Fat content |  |
|  | Salt content |  |
| 3 | Moisture content | Sample of butter |
|  | Acidity |  |
|  | Salt content |  |
|  | Fat content |  |
| 4 | Moisture content | Sample of poëdered milk |
|  | Acidity |  |
|  | Fat content |  |
|  | Peroxide values |  |
| 5 | Acidity | Sample of yoghurt |
|  | Fat content |  |
| 6 | Moisture | Sample of pasta |
|  | Volume after boiling |  |
| 7 | Moisture | Sample of bread |
|  | Acidity |  |
|  | Porosity |  |
|  | Salt content |  |
| 8 | Moisture | Sample of flours |
|  | Ash |  |
|  | Acidity |  |
|  | Gluten content |  |
|  | Protein contenr |  |
|  | Particle size of grains |  |
| 9 | Moisture of yeast | Sample for yeast |
|  | Acidity |  |
| 10 | Moisture content | Sample of cereals |
|  | Determination of damage from pests |  |
| 11 | Moisture | Sample of salami, ham, minced meat, etc |
|  | Fat |  |
|  | Nitrites |  |
| 12 | Acidity | Sample of oil |
|  | Density |  |
|  | Moisture |  |
|  | Saponification number |  |
|  | Iodine |  |
|  | Non-Saponification matter |  |
|  | Peroxide values |  |
|  | Absorbance coeficent |  |
|  | Refractive index |  |
| 13 | amount of meat to canned mass% | Sample of canned fish |
|  | salt in% |  |
| 15 | Alkalinity in degrees | Sample of dough products (pie, pancakes, waffle, etc.) |
|  | Insoluble ashiIn HCl 10% to% |  |
| 16 | Moisture in% | Sample of foods in powder form |
|  | insoluble ash in HCl 10% to% |  |
|  | acidity in % |  |
| 17 | Moisture in% | Sample of starch |
|  | ash in dry matter in% |  |
|  | acidity in ml NaOH 0.1N / 100 gr starch |  |
| 18 | amount of meat to canned mass% | Sample of canned meat |
|  | salt in% |  |
| 19 | amount of vegetable to canned mass% | Sample of canned vegetable product |
|  | salt |  |
|  | Acidity |  |
| 20 | Total dry matter | Sample of sauce tomato |
|  | acidity |  |
| 21 | Moisture in% | Sample of dried fruits |
|  | foreign subjects |  |
| 22 | Total dry matter | Sample of fresh juice |
|  | acidity |  |
|  | CO2 |  |
| 23 | ethyl alcohol | Sample of beer |
|  | total acidity |  |
|  | extract |  |
|  | ash |  |
|  | CO2 |  |
| 24 | ethylic alcohol | Sample of Wine |
|  | total acidity |  |
|  | volatile acidity |  |
|  | extract |  |
|  | free SO2 |  |
|  | Sulfuric anhydride General |  |
| 25 | ethylic alcohol | alcoholic drinks |
|  | extract |  |
|  | total acidity |  |
| 26 | moisture | salt |
|  | Iodine |  |
| 27 | Total dry residue | natural water |
|  | German grade strength |  |
|  | Calcium |  |
|  | Magnesium |  |
|  | CO2 |  |
|  | Bicarbonate |  |
| 28 | Moisture | herbal tea |
|  | debris |  |
| 29 | moisture | coffee and cocoa |
|  | ash |  |
|  | fat |  |
|  | debris |  |
| 30 | TVBN | fresh fish |

FOOD MICROBIOLOGICAL LABORATORY
Current Services

Coagulase positive Staphylococci

Escherichia coli

Campylobacter,

Listeria monocytogenes

Aerobic Total

Salmonella

NPM Enterobacterium

III. PHYTOSANITARY LABORATORY
Current Services

Table 1: List of quarantine pests, non-quarantine pests, and vectors

| Pest | Type | Code | Method Used | Analysis Duration |
| --- | --- | --- | --- | --- |
| Bacteria |  |  |  |  |
| Erwinia amylovora | Bacteria | [ERËIAM] | Protocol | 5-7 days |
| Fungi and Oomycetes |  |  |  |  |
| Fusarium oxysporum | Fungus | [FUSAAL] | Protocol | 7-10 days |
| Synchytrium endobioticum | Fungus | [SYNCEN] | Protocol | 5-7 days |
| Insects |  |  |  |  |
| Aleurocanthus spiniferus | Insect | [ALECSN] | Morphology & Identification Key | 1-2 days |
| Amauromyza maculosa | Insect | [AMAZMA] | Morphology & Identification Key | 1-2 days |
| Anomala vitis | Insect | [ANMLVT] | Morphology & Identification Key | 1-2 days |
| Anoplophora chinensis | Insect | [ANOLCN] | Morphology & Identification Key | 1-2 days |
| Anthonomus quadrigibbus | Insect | [TACYQU] | Morphology & Identification Key | 1-2 days |
| Bactrocera oleae | Insect | [DACUOL] | Morphology & Identification Key | 1-2 days |
| Bemisia tabaci | Insect | [BEMITA] | Morphology & Identification Key | 1-2 days |
| Ceratitis capitata | Insect | [CERTCA] | Morphology & Identification Key | 1-2 days |
| Diaphorina citri | Insect | [DIAACI] | Morphology & Identification Key | 1-2 days |
| Epitrix species | Insect | [EPIXSP] | Morphology & Identification Key | 1-2 days |
| Frankliniella occidentalis | Insect | [FRANOC] | Morphology & Identification Key | 1-2 days |
| Grapholita inopinata | Insect | [CYDIIN] | Morphology & Identification Key | 1-2 days |
| Grapholita molesta | Insect | [LASPMO] | Morphology & Identification Key | 1-2 days |
| Grapholita packardi | Insect | [LASPPA] | Morphology & Identification Key | 1-2 days |
| Grapholita prunivora | Insect | [LASPPR] | Morphology & Identification Key | 1-2 days |
| Helicoverpa armigera | Insect | [HELIAR] | Morphology & Identification Key | 1-2 days |
| Keiferia lycopersicella | Insect | [GNORLY] | Morphology & Identification Key | 1-2 days |
| Liriomyza bryoniae | Insect | [LIRIBO] | Morphology & Identification Key | 1-2 days |
| Liriomyza huidobrensis | Insect | [LIRIHU] | Morphology & Identification Key | 1-2 days |
| Liriomyza sativae | Insect | [LIRISA] | Morphology & Identification Key | 1-2 days |
| Neoleucinodes elegantalis | Insect | [NEOLEL] | Morphology & Identification Key | 1-2 days |
| Paysandisia archon | Insect | [PAYSAR] | Morphology & Identification Key | 1-2 days |
| Quadraspidiotus perniciosus | Insect | [COMSTOCK] | Morphology & Identification Key | 1-2 days |
| Rhynchophorus ferrugineus | Insect | [RHYCFE] | Morphology & Identification Key | 1-2 days |
| Scaphoideus titanus | Insect | [SCAPLI] | Morphology & Identification Key | 1-2 days |
| Tecia solanivora | Insect | [TECASO] | Morphology & Identification Key | 1-2 days |
| Tephritidae (non-European) | Insect | [1TEPHF] | Morphology & Identification Key | 1-2 days |
| Thrips palmi | Insect | [THRIPL] | Morphology & Identification Key | 1-2 days |

Table 2: List of priority quarantine pests

| Pest | Type | Code | Method Used | Analysis Duration |
| --- | --- | --- | --- | --- |
| Bacteria |  |  |  |  |
| Xylella fastidiosa | Bacteria | [XYLEFA] | Protocol from SAFIAL project | 3-4 days |
| Insects |  |  |  |  |
| Anastrepha ludens | Insect | [ANSTLU] | Morphology & Identification Key | 1-2 days |
| Anoplophora glabripennis | Insect | [ANOLGL] | Morphology & Identification Key | 1-2 days |
| Anthonomus eugenii | Insect | [ANTHEU] | Morphology & Identification Key | 1-2 days |
| Aromia bungii | Insect | [AROMBU] | Morphology & Identification Key | 1-2 days |
| Bactericera cockerelli | Insect | [PARZCO] | Morphology & Identification Key | 1-2 days |
| Bactrocera dorsalis | Insect | [DACUDO] | Morphology & Identification Key | 1-2 days |
| Bactrocera zonata | Insect | [DACUZO] | Morphology & Identification Key | 1-2 days |
| Conotrachelus nenuphar | Insect | [CONHNE] | Morphology & Identification Key | 1-2 days |
| Popillia japonica | Insect | [POPIJA] | Morphology & Identification Key | 1-2 days |
| Rhagoletis pomonella | Insect | [RHAGPO] | Morphology & Identification Key | 1-2 days |
| Spodoptera frugiperda | Insect | [LAPHFR] | Morphology & Identification Key | 1-2 days |
| Thaumatotibia leucotreta | Insect | [ARGPLE] | Morphology & Identification Key | 1-2 days |
| Viruses |  |  |  |  |
| Tomato brown rugose fruit virus | Virus | [ToBRFV] | Protocol from SAFIAL project | 3-4 days |

Annex: Functional equipment and furnishing tools are mainly supported by the latest supply from SAFIAL (except for the electrical system and air conditioning carried out in the respective laboratories).

| NO. | INSTRUMENT / OBJECT |  | MANUFACTURER | MODEL |  | DATE OF SUPPLY | PURPOSE OF USE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Vertical Autoclave |  | Lequeux | AUV 50 / 70 |  | 0.0.2010 | Media preparation / Autoclaving of waste |
| 2 | Refrigerator |  | Liebherr |  |  | 0.0.2010 | Sample storage |
| 3 | Balance Denver |  | Denver Instrument Company | TR 403 |  | 0.0.2010 | Weighing |
| 4 | Colony Counter |  | Stuart Billy Scientific | Colony Counter SC5 |  | 0.0.2010 | Colony counting |
| 5 | Incubator Sanyo |  | SANYO | MIR-153 |  | 0.0.2010 | Incubation |
| 6 | Incubator Sanyo |  | SANYO | MIR-153 |  | 0.0.2010 | Incubation |
| 7 | Heating Plate |  | Fisher Scientific |  |  | 0.0.2010 | Melting / Dissolving |
| 8 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 9 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 10 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 11 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 12 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 13 | Desktop Computer and Monitor |  | Fujitsu | E22 YVBC 013804 |  | 0.0.2018 | Documentation |
| 14 | Laminar Flow Hood with UV Lamp |  | ASAL S.R.L | 1500 FLV, 29940593 |  | 13.01.2023 | Analysis under sterile conditions |
| 15 | Incubator NUVE 74L, variable temperature |  | NUVE | EN 032-EN 055-EN 120 |  | 13.01.2023 | Incubation |
| 16 | Incubator NUVE 74L, variable temperature |  | NUVE | EN 032-EN 055-EN 120 |  | 13.01.2023 | Incubation |
| 17 | Incubator NUVE 74L, variable temperature |  | NUVE | EN 032-EN 055-EN 120 |  | 13.01.2023 | Incubation |
| 18 | Static Oven (110L) up to 300°C |  | ARGO LAB | TCF 120 |  | 13.01.2023 | Sterilization |
| 19 | Centrifuge (up to 6800 rpm, 12x15 ml, non-refrigerated) |  | REMI ELEKTROTECHNIK LTD | NEYA 10 |  | 13.01.2023 |  |
| 20 | Stereo Microscope with 6MP USB Camera |  | MOTIC | SMZ-171B |  | 13.01.2023 | Detection of organoleptic characteristics of samples and recording |
| 21 | Colony Counter (with accessories) |  | SCHUETTBIOTEC | SCHUTT COUNT N 2205 |  | 13.01.2023 | Colony counting |
| 22 | Balance (readability 0.0001g) with internal calibration |  | RADËAG | AS 310 X2 Pus |  | 13.01.2023 | Weighing |
| 23 | Digital Vortex Mixer |  | VELP SCIENTIFICA | TX4 Digital IR VORTEX MIXER |  | 13.01.2023 | Homogenization |
| 24 | Anti-vibration Table for Balance |  | ASEM Laboratory Furniture | TC9010 |  | 13.01.2023 | Placement of analytical balance |
| 25 | Magnetic Stirrer with heating |  | INTERSCIENCE | BagMixer 400 CC |  | 13.01.2023 | Homogenization |
| 26 | Balance (readability 0.01g) with internal calibration |  | RADËAG | PS 3500.R2.M |  | 13.01.2023 | Weighing |
| 27 | Magnetic Stirrer with heating |  | AGRO LAB | LED DIGITAL 7 |  | 13.01.2023 | Mixing and dissolving/melting |
| 28 | Refrigerator and Freezer |  | HYUNDAI ELECTRONICS | NFTPHY562L |  | 13.01.2023 | Storage of media |
| 29 | Refrigerator and Freezer |  | HYUNDAI ELECTRONICS | NFTPHY562L |  | 13.01.2023 | Storage of media |
| 30 | Refrigerator (concentrator) |  | HISENSE | FV306N4BC11 |  | 13.01.2023 | Sample storage |
| 31 | Refrigerator and Freezer |  | Meling Biomedical | YCD-EL519 |  | 0.0.2023 | Sample storage |
| 32 | Micropipette (Eppendorf) 10-100 µl |  | Eppendorf Ag | 10-100 µl |  | 0.0.2023 | Taking an analytical amount |
| 33 | Micropipette (Eppendorf) 100-1000 µl |  | Eppendorf Ag | 100-1000 µl |  | 0.0.2023 | Taking an analytical amount |
| 34 | Micropipette (Eppendorf) 500-5000 µl |  | Eppendorf Ag | 500-5000 µl |  | 0.0.2023 | Taking an analytical amount |
| 35 | Digital Thermometer with probe, range -50 to 300°C |  | Xylem Analytics Germany GmbH | TTX200 Type T |  | 0.0.2023 | Temperature control |
| 36 | Printer EPSON AL-M320DN |  | SEIKO EPSON CORP. | L771A |  | 0.0.2023 | Printing test reports |
| 37 | Desktop Computer and Monitor |  | Dell | E2223HN, keyboard and mouse |  | 13.01.2023 | For stereo microscope |
| 38 | Digital Thermometer, range -50 to 300°C |  | 620-2025 | VËR |  | 0.0.2023 | Temperature control |
| 39 | Rectangular Water Bath |  | OSI | 1104e |  | 0.0.2010 | For melting media and materials and drying samples |
| 40 | Water Bath Mermert |  | Memmert |  |  | 0.0.2010 | For melting media and materials and drying samples |
| 41 | Centrifuge 16A; 4x100 ml |  | Hettich Zentrifugen |  |  | 0.0.2010 | For centrifuging materials |
| 42 | Binocular Microscope |  | Paralux | L 1100 |  | 0.0.2010 | For detection of bacteria |
| 43 | Refrigerator |  | LIEBHERR Profi Line | TGS 5200 Index 12 A/001 |  | 0.0.2010 | For storage of media/materials and samples at -18 °C |
| 44 | Heating Plate 390°C |  | Fisher Scientific |  |  | 0.0.2010 | For boiling samples during chemical analysis |
| 45 | Vacuum Thermostat |  |  | EV51 |  | 0.0.2010 | For determination of moisture, dry substances, etc. |
| 46 | Refractometer |  | OPTECH (Optical Technology) | RMI |  | 0.0.2010 | For determining refractive index, dry matter in various products |
| 47 | Universal Centrifuge |  | Gerber Instruments | Univ Type |  | 0.0.2010 | For centrifuging materials |
| 48 | Muffle Furnace |  | Carbolite | ELF 11/14 (201) |  | 0.0.2010 | For burning |
| 49 | Aerosteril 60Zit |  | Fisher Scientific | APH 60 |  | 0.0.2010 | For determination of moisture, dry substances, etc. |
| 50 | Magnetic Agitator |  | Hanna Instruments |  |  | 0.0.2010 | For mixing samples |
| 51 | Rotavapor |  | Heidolph | LABORATA 4000 |  | 0.0.2010 | For efficient evaporation of solvents from samples under vacuum |
| 52 | Lactoscan Analyzer |  | Milkotronic LTD | 4 character LED display |  | 0.0.2010 | For quick analysis of physicochemical parameters in milk |
| 53 | Refrigerator |  | LIEBHERR Profi Line | FKS 3600 Index 10B /001 Independent |  | 0.0.2010 | For storage of media or materials |
| 54 | Dishwasher |  |  |  |  | 0.0.2010 | Equipment for washing and drying laboratory glassware |
| 55 | Sample Homogenizer |  | IKA |  |  | 0.0.2010 | For homogenizing samples |
| 56 | Portable Refractometer |  | OPTECH (Optical Technology) | RZT with ATC |  | 0.0.2010 | For determining refractive index, dry matter in various products |
| 57 | Multistirrer |  | Velp Scientifica |  |  | 0.0.2010 | For stirring multiple samples |
| 58 | Saccharimeter |  |  |  |  | 0.0.2010 | For determining sucrose |
| 59 | Spectrophotometer |  | Secomam | PRIM |  | 0.0.2010 | For determination of nitrites in meat products and by-products |
| 60 | Electronic Scale Toledo |  | METTLER TOLEDO | BD 1201 |  | 0.0.2010 | For quantitative measurements |
| 61 | Grinding Mill |  | IKA | A11B basic |  | 0.0.2010 | For grinding samples |
| 62 | Oil Decimeter |  |  |  |  | 0.0.2010 | For determining density in oils at production point |
| 63 | Rapid Analyzer |  | Gibertini | Oenological analyzer |  | 0.0.2010 | For rapid titration in wines |
| 64 | Fibertec 2010 |  | FOOS TECATOR | 10009130, Rev 0.1 |  | 0.0.2010 | For determining cellulose |
| 65 | Vacuum Pump |  |  |  |  | 0.0.2010 | For vacuum filtration |
| 66 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 67 | Digital Thermometer with Probe |  | TFA (Dostman) | 30.102 |  | 0.0.2010 | Temperature control |
| 68 | Electronic Balance |  | DENVER INSTRUMENT | Tr-204 |  | 2010 | For quantitative measurements |
| 69 | Multifunction Copier |  | Xerox | Standard BË |  | 2018 | For copying various materials |
| 70 | Hectoliter Scale |  |  |  |  | 2020 | For weighing hectoliters of grain seeds |
| 71 | Fisherbrand Balance (technical) |  |  |  |  | 2020 | For weighing samples |
| 72 | LG Refrigerator | LG |  |  |  | 2018 | For storage of media or materials |
| 73 | Refrigerator |  |  |  |  | 2010 | For storage of media or materials |
| 74 | Desktop computer and monitor | FUJITSU |  |  | E22 YVBC 013775 | 2018 | For data recording |
| 75 | Multifunction copier | Xerox |  |  | S33694330080 | 2018 | For photocopying various materials |
| 76 | Desktop computer and monitor | Fujitsu |  |  | E22 YVBC 013846 | 2018 | For data recording |
| 77 | Digital thermometer |  |  |  |  | 2019 | Temperature control |
| 78 | Desktop computer and monitor | FUJITSU |  |  | E22 YVBC 013775 | 2018 | For data recording |
| 79 | Protein disaggregation device | GERHARD |  |  | KJELDATHERM digestion block KT8s | 2023 | For sample disaggregation during protein analysis |
| 80 | Kjeldahl distillation apparatus | GERHARD |  |  | VAPODEST 200 | 2023 | For distillation of disaggregated samples during protein analysis |
| 81 | Gas scrubber | GERHARD |  |  | VACUSOG Gas Scrubber | 2023 | For capturing gases released during protein analysis |
| 82 | Semi-automatic system for fat content analysis (Soxhlet) | GERHARD |  |  | SOXTHERM 416 | 2023 | For determining fat content using Soxhlet method |
| 83 | Digital device for recording fat data in Soxhlet apparatus | GERHARD |  |  |  | 2023 | Digital device for recording data during fat determination in Soxhlet |
| 84 | Hydrolyzer | GERHARD |  |  |  | 2023 | For hydrolysis of high-fat products before fat analysis in Soxhlet |
| 85 | Two-speed blender with timer and stainless steel container | Waring Blender |  |  | LB20ES | 2023 | For grinding and homogenizing solid samples |
| 86 | UV-VIS Spectrophotometer with software and computer | SHIMADZU |  |  | UV-1900I | 2023 | For analyzing ΔK in olive oils and nitrites in meat and by-products |
| 87 | pH meter with screen | XS |  |  | PH 60 VIOLAB, 50101102 | 2023 | For measuring pH in products |
| 88 | Digital refractometer | KRUS |  |  | DR301-95 | 2023 | For determining refractive index and dry matter in various products |
| 89 | Polarimeter for measuring optical rotation with LED source | EUROMAX |  |  | 99.400-LED | 2023 | For measuring reducing sugars |
| 90 | Milk freezing point analyzer | ASTORI |  |  | CRYTOUCH 1, 67799 | 2023 | For analyzing water content in milk |
| 91 | Alcohol concentration system (3 distillation units + 1 instrument) | STEREOGLASS WITEG |  |  | ËHM12014 | 2023 | Heater used during wine distillation for further alcohol determination |
| 92 | Magnetic stirrer with heating | AGRO LAB |  |  | GIORGIO BPRMAC S.R.L, M3-D, 22003013 | 2023 | For heating and mixing samples |
| 93 | Self-calibrating balance | RADËAG |  |  | PS 3500.R2.M | 2023 | For quantitative measurements with 0.01 g accuracy |
| 94 | Self-calibrating balance | RADËAG |  |  | AS 310.X2 PLUS | 2023 | For quantitative measurements with 0.0001 g accuracy |
| 95 | Digital vortex mixer with adjustable speed | VELP SCIENTIFICA |  |  | TX4, F202A0270 | 2023 | For mixing samples |
| 96 | Aerosteril forced air circulation oven | AGRO LAB |  |  | MMM GROUP, VENTICELL | 2023 | For determination of moisture, dry matter, etc. |
| 97 | Static oven (110 L) up to 300 °C | AGRO LAB |  |  | MMM GROUP, DUROCELL | 2023 |  |
| 98 | Incubator 74 L, with adjustable temperatures | NUVE |  |  | MMM GROUP, INCUCELL | 2023 | For culturing pathogens in pure culture (nutrient media) |
| 99 | Laminar flow cabinet with UV lamp and table (70 cm width) | ASAL |  |  | VERTICAL 700 | 2023 | Creating sterile conditions for pathogen culturing (bacteria, fungi) |
| 100 | Stereo microscope with USB camera and software | MOTIC Group |  |  | SMZ 171 - LED with A5 CAMERA | 2023 | For insect diagnosis (crop pests) |
| 101 | Microplate photometer for ELISA applications, with software and computer | THERMO SCIENTIFIC |  |  | ELX8081U | 2023 | For plant virus diagnosis |
| 102 | Orbital shaker, up to 500 rpm, up to 16x100 ml flasks | WITEG Labortechnik GmbH |  |  | SH0-2D, SP200, FHS250 | 2023 | For shaking and mixing multi-component buffers |
| 103 | Alcohol strength measuring system | ANTON PAAR |  |  | DMA 4101 | 2023 | For alcoholic beverage analysis |
| 104 | Dry block heater (for 1.5 ml microtubes, 24 places) | WITEG Labortechnik GmbH |  |  | H-20 | 2023 | Water bath for heating microtubes |
| 105 | Ice maker with table | KALSTEN |  |  | YR05137 | 2023 | For producing ice used in ELISA |
| 106 | Water producer with tanks, Type I and II | ADRONA |  |  | RA-2102+10007 | 2023 | For production of distilled water |
| 107 | Chemical hood 180 cm with motor | ASEM FUME HOOD |  |  |  | 2023 | Creating sterile conditions, eliminating difficulties for workers, working with aggressive reagents and solvents, vapor extraction, and preventing product contamination |
| 108 | Chemical hood 150 cm with motor | ASEM FUME HOOD |  |  |  | 2023 | Same as above |
| 109 | Freezer -20 °C | HISENSE |  |  | FV306N4BC11 | 2023 | For storage of media/materials and samples at -18 °C |
| 110 | Bagno drill | EINHELL DRILL |  |  |  | 2023 | For sample extraction in ELISA |
| 111 | Air-cooled centrifuge with swing rotor for 24x1.5 ml tubes and adapters for 24x0.2 ml tubes | HERMLE |  |  | Z 32 HK + 221.17 V21 | 2023 | For centrifugation and separation of seed pathogens |
| 112 | Refrigerator +4 °C with freezer compartment on top | HYUNDAI ELECTRONICS |  |  | NFTPHY562L | 2023 | For storage of media/materials and samples |
| 113 | Water bath | AGRO LAB |  |  | 12 IT | 2023 | For melting media and materials and drying samples |
| 114 | Anti-vibration table for balance | ASEM Laboratory Furniture |  |  | TC9010 | 13.01.2023 | For placing analytical balance |

Note: The equipment from the year 2023 has been supplied by the SAFIAL Project.

ANIMAL HEALTH LABORATORY
This laboratory has not received investments over the years and is currently not operational.

III. REGIONAL LABORATORY FIER

- Fier covers the areas/regions of Fier, Berat, and Lushnja. The products of interest for these regions are: milk and dairy products, meat and meat products, fruits and vegetables, and olive oil.

- This laboratory has not had investments over the years except for the investment by TYPIC-AL this year, aimed at further developing procedures.

- Current services should continue.

PHYSICOCHEMICAL LABORATORY

Current services

|  | Description of physical chemistry test | Sample/test items |
| --- | --- | --- |
| 1 | Density | raw milk & milk for consumption |
|  | Total dry matter |  |
|  | Acidity |  |
|  | Cryoscopic point |  |
|  | Fat content |  |
| 2 | Moisture content | cheese |
|  | Acidity |  |
|  | Fat content |  |
|  | Salt content |  |
| 3 | Moisture content | butter |
|  | Acidity |  |
|  | Salt content |  |
|  | Fat content |  |
| 4 | Moisture content | powdered milk |
|  | Acidity |  |
|  | Fat content |  |
|  | Peroxide values |  |
| 5 | Acidity | yoghurt |
|  | Fat content |  |
| 6 | Moisture | pasta |
|  | Volume after boiling |  |
| 7 | Moisture | bread |
|  | Acidity |  |
|  | Porosity |  |
|  | Salt content |  |
| 8 | Moisture | flours |
|  | Ash |  |
|  | Acidity |  |
|  | Gluten content |  |
|  | Protein contenr |  |
|  | Particle size of grains |  |
| 9 | Moisture of yeast | yeast |
|  | Acidity |  |
| 10 | Moisture content | cereals |
|  | Determination of damage from pests |  |
| 11 | Moisture | salami, ham, minced meat, etc |
|  | Fat |  |
|  | Nitrites |  |
| 12 | Acidity | oil |
|  | Density |  |
|  | Moisture |  |
|  | Saponification number |  |
|  | Iodine |  |
|  | Non-Saponification matter |  |
|  | Peroxide values |  |
|  | Absorbance coeficent |  |
|  | Refractive index |  |
| 13 | amount of meat to canned mass% | canned fish |
|  | salt in% |  |
| 15 | Alkalinity in degrees | dough products (pie, pancakes, waffle, etc.) |
|  | Insoluble ashiIn HCl 10% to% |  |
| 16 | Moisture in% | foods in powder form |
|  | insoluble ash in HCl 10% to% |  |
|  | acidity in % |  |
| 17 | Moisture in% | starch |
|  | ash in dry matter in% |  |
|  | acidity in ml NaOH 0.1N / 100 gr starch |  |
| 18 | amount of meat to canned mass% | canned meat |
|  | salt in% |  |
| 19 | amount of vegetable to canned mass% | canned vegetable product |
|  | salt |  |
|  | Acidity |  |
| 20 | Total dry matter | sauce tomato |
|  | acidity |  |
| 21 | Moisture in% | dried fruits |
|  | foreign subjects |  |
| 22 | Total dry matter | fresh juice |
|  | acidity |  |
|  | CO2 |  |
| 23 | ethyl alcohol | beer |
|  | total acidity |  |
|  | extract |  |
|  | ash |  |
|  | CO2 |  |
| 24 | ethylic alcohol | wine |
|  | total acidity |  |
|  | volatile acidity |  |
|  | extract |  |
|  | free SO2 |  |
|  | Sulfuric anhydride General |  |
| 25 | ethylic alcohol | alcoholic drinks |
|  | extract |  |
|  | total acidity |  |
| 26 | moisture | salt |
|  | Iodine |  |
| 27 | Total dry residue | natural water |
|  | German grade strength |  |
|  | Calcium |  |
|  | Magnesium |  |
|  | CO2 |  |
|  | Bicarbonate |  |
| 28 | Moisture | herbal tea |
|  | debris |  |
| 29 | moisture | coffee and cocoa |
|  | ash |  |
|  | fat |  |
|  | debris |  |
| 30 | TVBN | fresh fish |

"List of Proposed Equipment"

| No. | Type of equipment | Number of pieces | Intended use |
| --- | --- | --- | --- |
|  | Chemical Cabinets | 1 | Creation of sterile conditions, elimination of difficulties for employees, to work with aggressive reagents and different solvents, absorption of vapors and non-contamination of the product |
|  | Automatic Cryoscope | 1 | For the analysis of water added to milk, lactose-free milk and creams by determining the cryoscopic point |
|  | Digital Gerber Centrifuge | 1 | For centrifugation of different materials in the lab |
|  | Heating Magnetic Stirrers | 1 | For mixing samples |
|  | Analytical Balance | 1 | To carry out quantitative measurements |
|  | Technical Balance | 1 | Technical or precision balances for the laboratory, for routine checks and industrial analysis must be robust and reliable. |
|  | Centrifuge | 1 | For centrifugation of materials |
|  | UV-VIS spectrophotometer (double beam) | 1 | For carrying out analyzes of water, beer, color of drinks, edible oils and biological analyses |
|  | Kjeldahl distillation equipment | 1 | For the analysis of protein as well as the TVBN (Total Volatile Basic Nitrogen) in fish |
|  | Protein Disintegration equipment | 1 | For protein analysis |
|  | Digital Refractometer | 1 | To determine the index of refraction, dry matter in different products |
|  | Electronic balance | 1 | For carrying out weighing |
|  | Set with calibrated scales For checking the scales | 1 | For calibration |
|  | Certified thermometer | 1 | For temperature control in thermostats |
|  | Photometer for determining the values of peroxides in oil | 1 | For oil analysis |
|  | Mixer vortex | 1 | For mixing samples |
|  | Vacuum pump | 1 | For vacuum filtration |
|  | pH meter Laboratori | 1 | Measurement of PH in the product |
|  | Multiparameter for measuring PH and TDS | 1 | For determinations in water and various products |
|  | Muffle furnace | 1 | For burns |
|  | Moisture Analysers | 1 | For moisture determination in different products |
|  | Equipment for measuring gluten in food products | 1 | For measuring gluten in food products |
|  | Thermostat for measuring moisture in samples with low moisture (such as oil) | 1 | For measuring moisture in samples with low moisture (such as oil) |
|  | Equipment with enzymatic gravimetry that analyzes insoluble fibers in foods | 1 | Analysis of insoluble and soluble fibers in food |
|  | Chemical storage cabinets | 1 | For the storage of chemicals |

Annex:
Equipment and furniture in procedure development by TYPIC-AL (excluding the electrical system and air conditioning carried out in the physico-chemical laboratory and a small auxiliary room of the same laboratory)

| Quantity | Laboratory Systems for water purification Description and minimum technical specifications required |
| --- | --- |
| 1 | Automatic water distiller with built-in storage tank. |
|  | 1) Production of high purity distilled water (Conductivity approx. 2-3 μS/cm). |
|  | 2) Built-in 16 liters storage tank. |
|  | 3) Electronic water level switch. |
|  | 4) Automatic thermostatic cut-off safety system. |
|  | 5) All materials in contact with water made of stainless steel. |
|  | 6) Easily accessed evaporator and storage tank for effortless cleaning and maintenance. |
|  | 7) Suitable for both bench and wall mounting. |
|  | 8) All parts and tools for installation included. |
|  | 9) Power supply: 220 V. |
| 1 | - UV-VIS spectrophotometric systems |
|  | Spectrophotometer UV-VIS dual beam. |
|  | 1) Operating mode in transmittance and absorbance. |
|  | 2) Operating in the ultraviolet and visible region at least from 190 to 900 nm (spectral range of measurement). |
|  | 3) Dual Beam. |
|  | 4) Light source: deuterium lamp and halogen lamp with auto switching synchronized as a function of the wavelength. |
|  | 5) Two-position (reference and sample) cell holder for traditional 10 mm path length cells. |
|  | 6) Wavelength accuracy not exceeding ±0.3 nm a 656.1nm (deuterium line) and 0.5 nm for all range 190-900 nm. |
|  | 7) Spectral bandwidth variable at least from 0.5 to 4 nm. |
|  | 8) Photometric range at least from -3 to 3 A. |
|  | 9) Scan speed at least from 100 to 2000 nm/min. |
|  | 10) Stray light < 0,05%T a 220, 340/360 nm. |
|  | 11) Baseline Noise ≤0,002 ABS RMS (at 500nm). |
|  | 12) Baseline stability (long-term) < 0,001 ABS/h at 500 or 700 nm. |
|  | 13) Software for management and control of device from PC capable of: |
|  | - manage and set all instrumental parameters; |
|  | - acquire the spectra; |
|  | - search for peaks and calculate areas; |
|  | - carry out quantitative analyses. |
|  | 14) Personal Computer with technical specifications capable of adequately supporting the instrument management software, equipped with a Windows operating system including 24-inch monitor. keyboard and mouse. |
|  | 15) Full warranty not less than 12 months. |
|  | 16) Power supply: 220 V. |
|  | 17) One (1) day training course. |
| 1 | Systems for analysis of Kjeldahl nitrogen (TKN), proteins and ammoniacal nitrogen |
|  | Distillation Unit for analysis of Kjeldahl nitrogen (TKN), proteins, ammoniacal nitrogen, nitric nitrogen (Devarda), TVBN, sulfites, phenols, volatile acids, cyanides, and alcohol content, with the following minimum specifications. |
|  | 1) Digital display |
|  | 2) Rapid pre-heating time |
|  | 3) Programmable sodium hydroxide addition |
|  | 4) Selectable Distillation Time |
|  | 5) Analysis time no longer than 5 minutes for 100 ml of distillate |
|  | 6) High-precision pump ensuring constant accurate dosing of the reagent |
|  | 7) Intuitive interface for easy analysis settings |
|  | 8) Works with deionized water for steam generation |
|  | 9) Reduced water consumption |
|  | 10) Structure made of corrosion-resistant techno polymer |
|  | 11) Power supply: 220 V. |
| 1 | Digestion unit for analysis of Kjeldahl nitrogen (TKN) and proteins |
|  | 1) Aluminum heating block with at least 6 position for 250 ml tubes |
|  | 2) High thermal homogeneity heating up to 450 °C |
|  | 3) Adjustable temperature with display visualization |
|  | 4) Temperature of the block constantly controlled by a microprocessor |
|  | 5) Structure made of stainless steel with strong resistance to chemicals and mechanical stress |
|  | 6) Equipped with support, suction cap and drip tray, sample rack and stand for rack |
|  | 7) Supplied with at least 12 tubes (250 ml) |
|  | 8) Power supply: 220 V. |
| 1 | Scrubber to neutralize toxic fumes produced during mineralization and safeguard lab operators |
|  | 1) At least 3 adjustable suction power levels |
|  | 2) No connection required to tap water |
|  | 3) Connection tubes made of VITON |
|  | 4) Activated carbon filter to absorb odors produced during mineralization process |
|  | 5) 1 replacement carbon filters |
|  | 6) Power supply: 220 V. |
| 1 | Illuminated Magnetic Stirrer |
|  | 1) Illuminated surface for visualization of particles and color changes |
|  | 2) Variable speed |
|  | 3) Speed electronic control |
|  | 4) Power supply: 220 V. |
|  | Laboratory equipment |
| 1 | Benchtop pH-meter. |
|  | 1) Color digital display. |
|  | 2) Measurement of pH and mV, with temperature display. |
|  | 3) Automatic temperature compensation. |
|  | 4) pH resolution at least 0.01 pH unit |
|  | 5) pH measuring range at least from 1 to 14. |
|  | 6) pH electrode with built-in temperature sensor. |
|  | 7) Automatic pH calibration with buffers up to 3 points. |
|  | 8) Supplied with electrode holder stand, 3 buffer solutions for calibration, power supply and manual. |
|  | 9) Power supply: 220 V. |
| 1 | Benchtop conductivity-meter. |
|  | 1) Color digital display. |
|  | 2) Measurement of conductivity and TDS, with temperature display. |
|  | 3) Conductivity measuring range at least from 0.1 μS/cm to 100 mS/cm. |
|  | 4) Resolution at least 0,1 μS. |
|  | 5) Selectable reference temperature. |
|  | 6) Automatic conductivity calibration up to 3 points. |
|  | 7) Automatic temperature compensation. |
|  | 8) Sensor Cell with built-in temperature sensor. |
|  | 9) Supplied with electrode holder stand, 3 standard solutions for calibration, power supply and manual. |
|  | 10) Power supply: 220 V. |
| 1 | Digital magnetic stirrer with heating plate. |
|  | 1) Digital display with indication of temperature. |
|  | 2) Heating Temperature Range at least from ambient to 300 ° C. |
|  | 3) Stirring speed at least up to 1000 rpm. |
|  | 4) Stirring quantity at least up to 8 liters. |
|  | 5) Supplied with external temperature probe. |
|  | 6) Power supply: 220 V. |
| 1 | Digital Refractometer. |
|  | 1) Digital display |
|  | 2) Simultaneous display of °Brix, temperature and refractive index. |
|  | 3) Measuring range from 0,0 to 95,0 °Brix. |
|  | 4) Automatic temperature compensation. |
|  | 5) Self-calibrating with distilled water. |
|  | 6) Supplied with power supply (220 V) and manual. |
| 1 | Ventilated benchtop centrifuge. |
|  | 1) Speed at least up to 6000 rpm. |
|  | 2) Automatic rotor detection. |
|  | 3) LCD display. |
|  | 4) Display of all centrifugation parameters. |
|  | 5) Programmable speed from 500 rpm with step at least of 50 rpm. |
|  | 6) Imbalance detection system with automatic functioning stop |
|  | 7) Acceleration and deceleration adjustable. |
|  | 8) Centrifuge chamber made of steel-inox. |
|  | 9) Supplied with fixed angle rotors for 50 ml and 15 ml tubes including buckets for all the position. |
|  | 10) Power supply: 220 V. |
| 1 | Laboratory heating water bath. |
|  | 1) Internal capacity not less than 100 liters. |
|  | 2) Digital display. |
|  | 3) Temperature working range at least from + 5 °C T-ambient to +90 °C. |
|  | 4) Operative mode both by digital timer (up to 96 hours) and continuous operation. |
|  | 5) Supplied with lid and drilled bottom plate(removable). |
|  | 6) Internal tank and drilled bottom plate made of stainless steel. |
|  | 7) Pipe for the drainage. |
|  | 8) Power supply: 220 V. |
| 1 | Precision balance. |
|  | 1) Digital display. |
|  | 2) Automatic internal calibration. |
|  | 3) Weighing capacity at least 700 g. |
|  | 4) Readability 0.001 g |
|  | 5) Dimensions weighing surface (Ø) at least 10 cm. |
|  | 6) Power supply: 220 V. |
| 1 | Cryoscope for determining the freezing point of milk. |
|  | 1) Single sample capacity. |
|  | 2) Supplied with two (2) calibration standard (-408 m°C and -600 m°C), one (1) control standard and at least 10 sample Tube- Glass. |
|  | 3) Power supply: 220 V. |
| 1 | Technical furnishings Fume hoods (cupboard) able to maintain a working environment meeting safety requirements in chemical laboratories, where corrosive acids and organic solvents are handled in hot and cold conditions. |
|  | The fume hoods must have the following minimum specifications. |
|  | 1) Width 180 cm. |
|  | 2) Super and under structure self-supporting. |
|  | 3) Whole structure made of anticorrosion and acid-resistant material. |
|  | 4) Adjustable stabilizing feet. |
|  | 5) Worktop in monolithic gres (ceramic). |
|  | 6) Worktop undercabinet. |
|  | 7) Vertical sash with movement mechanism by counterweight. |
|  | 8) Mode of suction: single way suction. |
|  | 9) Inner illumination with fluorescence or led lamp. |
|  | 10) Electrical services with internal wiring composed of: |
|  | § At least number 3 socket (10/16 A 3 pin + Shuko type) with switch. |
|  | § Switch for internal lamp. |
|  | § Main switch to disconnecting the power. |
|  | 11) Power supply: 220 V. |
| 1 | Laboratory wall bench with the following minimum specifications. |
|  | 1) Supporting structure made of metal |
|  | 2) Measuring (L x D x H) 240 x 80 (±3) x 90 (±3) cm. |
|  | 3) Worktop made of a gres slab (thickness at least 3 mm) structurally reinforced and supported by a wooden panel, with resistance to acids (except HF), alkalis and solvents (not tiles, but e.g. Greslam type). |
|  | 4) Worktop undercabinet, width 60 cm, 1 door, 1 shelves, grey colour |
|  | 5) Complete with closure panels. |
| 1 | Laboratory wall bench with the following minimum specifications. |
|  | 1) Supporting structure made of metal. |
|  | 2) Measuring (L x D x H) 210 x 65 (±3) x 90 (±3) cm. |
|  | 3) Worktop made of a gres slab (thickness at least 3 mm) structurally reinforced and supported by a wooden panel, with resistance to acids (except HF), alkalis and solvents (not tiles, but e.g. Greslam type). |
|  | 4) Complete closure panels. |
| 1 | Laboratory Central bench with the following minimum specifications. |
|  | 1) Supporting structure made of metal. |
|  | 2) Measuring (L x D x H) 210 x 125 (±3) x 90 (±3) cm. |
|  | 3) Worktop made of a gres slab (thickness at least 3 mm) structurally reinforced and supported by a wooden panel, with resistance to acids (except HF), alkalis and solvents (not tiles, but e.g. Greslam type). |
|  | 4) Bench-mounted reagent shelf riser along the entire length of the bench. |
|  | 5) 2 tower double-side each with 2 electrical sockets (4 sockets total)y. |
|  | 6) Complete with closure panels. |
| 1 | Safety cabinets for the storage of chemical products with the following minimum specifications |
|  | 1) 1 door. |
|  | 2) Including fan ad activated charcoal filter. |
|  | 3) At least 3 shelves. |
|  | 4) Measuring (L x D x H) 60 (±5) x 65(±5) x 190 (±10 excluded fan and filter)) cm. |
|  | 5) Power supply: 220 V. |

FOOD MICROBIOLOGY LABORATORY
Current services

| FOOD & FEED |  |
| --- | --- |
|  | Campylobacter |
|  | Coagulase positive Staphylococci |
|  | Escherichia coli (produkt dhe uje) |
|  | Listeria monocytogenes |
|  | Aerobic Total |
|  | Salmonella |
|  | NPM Enterobacterium |
|  | Parasites (Trichinella, Echinococcus, Anisakis) |
|  | The analysis and testing of zoonoses (Salmonella) |

Other Proposed Necessary Works:
Complete reconstruction of the building, including the electrical system, which must ensure continuous and stable power supply, and the hydraulic system, in compliance with the standards according to the requirements of the respective laboratories.

Clarification: Supported by the laboratory component of the TYPIC-AL project (CIHEAM Bari) "Improvement of Food Safety Standards Along the Supply Chains of Albanian Typical Local Products," conditions for the development of activities have been improved (electrical network, air conditioning, etc., in the physico-chemical laboratory and in the unused – former phytosanitary room). As part of the ongoing program, procedures are underway for the procurement of several basic laboratory equipment, furniture, and necessary consumable materials. (Attached in the annex is the list of equipment and furniture items planned for procurement)

IV. REGIONAL LABORATORY SHKODËR

- Shkodër covers the areas of Shkodër, Pukë, Malësi e Madhe, and Lezhë. The most important products for these areas/regions are: milk and dairy products, meat and meat products, bread, eggs, wine, and beverages. Imported products of interest include: flour, rice, wine, non-alcoholic beverages, milk, meat, beer, fruits and vegetables, medicinal plants, etc. The laboratory also manages the customs point at Hani i Hotit, through which food goods pass.

Current Situation:
Animal Health
The Animal Health Laboratory has suitable infrastructure for laboratory activities but lacks laboratory capacities and staff to provide services. There have been no investments over the years; the facility is almost empty with very old equipment, as well as a lack of veterinary staff since 2018. Normal operation of the Animal Health Laboratory is necessary to maintain control over the epidemiological situation in the region, which has a large number of farms.

Current physicochemical, microbiological, and plant protection services should continue.

II. Regarding Proposed Possible Structural Interventions:

- Suitable environmental conditions for carrying out activities based on biosafety levels in this laboratory, including elimination of waste from animal carcasses by strengthening biosafety measures.

- Intervention to create a necropsy laboratory located on the ground floor, where diagnostic laboratories should also be. The necropsy laboratory should have a separate entrance for the submission of samples from outside the building and an internal door for communication with other laboratories.

- Intervention to create a sample reception office with a separate external entrance.

- Three-phase electrical line where equipment such as autoclave and biosafety cabinet will be installed.

PHYSICOCHEMICAL LABORATORY

Current services

|  | Description of physical chemistry test | Sample/test items |
| --- | --- | --- |
| 1 | Density | raw milk & milk for consumption |
|  | Total dry matter |  |
|  | Acidity |  |
|  | Cryoscopic point |  |
|  | Fat content |  |
| 2 | Moisture content | cheese |
|  | Acidity |  |
|  | Fat content |  |
|  | Salt content |  |
| 3 | Moisture content | butter |
|  | Acidity |  |
|  | Salt content |  |
|  | Fat content |  |
| 4 | Moisture content | powdered milk |
|  | Acidity |  |
|  | Fat content |  |
|  | Peroxide values |  |
| 5 | Acidity | yoghurt |
|  | Fat content |  |
| 6 | Moisture | pasta |
|  | Volume after boiling |  |
| 7 | Moisture | bread |
|  | Acidity |  |
|  | Porosity |  |
|  | Salt content |  |
| 8 | Moisture | flours |
|  | Ash |  |
|  | Acidity |  |
|  | Gluten content |  |
|  | Protein contenr |  |
|  | Particle size of grains |  |
| 9 | Moisture of yeast | yeast |
|  | Acidity |  |
| 10 | Moisture content | cereals |
|  | Determination of damage from pests |  |
| 11 | Moisture | salami, ham, minced meat, etc |
|  | Fat |  |
|  | Nitrites |  |
| 12 | Acidity | oil |
|  | Density |  |
|  | Moisture |  |
|  | Saponification number |  |
|  | Iodine |  |
|  | Non-Saponification matter |  |
|  | Peroxide values |  |
|  | Absorbance coeficent |  |
|  | Refractive index |  |
| 13 | amount of meat to canned mass% | canned fish |
|  | salt in% |  |
| 15 | Alkalinity in degrees | dough products (pie, pancakes, waffle, etc.) |
|  | Insoluble ashiIn HCl 10% to% |  |
| 16 | Moisture in% | foods in powder form |
|  | insoluble ash in HCl 10% to% |  |
|  | acidity in % |  |
| 17 | Moisture in% | starch |
|  | ash in dry matter in% |  |
|  | acidity in ml NaOH 0.1N / 100 gr starch |  |
| 18 | amount of meat to canned mass% | canned meat |
|  | salt in% |  |
| 19 | amount of vegetable to canned mass% | canned vegetable product |
|  | salt |  |
|  | Acidity |  |
| 20 | Total dry matter | sauce tomato |
|  | acidity |  |
| 21 | Moisture in% | dried fruits |
|  | foreign subjects |  |
| 22 | Total dry matter | fresh juice |
|  | acidity |  |
|  | CO2 |  |
| 23 | ethyl alcohol | beer |
|  | total acidity |  |
|  | extract |  |
|  | ash |  |
|  | CO2 |  |
| 24 | ethylic alcohol | wine |
|  | total acidity |  |
|  | volatile acidity |  |
|  | extract |  |
|  | free SO2 |  |
|  | Sulfuric anhydride General |  |
| 25 | ethylic alcohol | alcoholic drinks |
|  | extract |  |
|  | total acidity |  |
| 26 | moisture | salt |
|  | Iodine |  |
| 27 | Total dry residue | water |
|  | German grade strength |  |
|  | Calcium |  |
|  | Magnesium |  |
|  | CO2 |  |
|  | Bicarbonate |  |
| 28 | Moisture | herbal tea |
|  | debris |  |
| 29 | moisture | coffee and cocoa |
|  | ash |  |
|  | fat |  |
|  | debris |  |
| 30 | TVBN | fresh fish |

Annex: Equipment and furniture in the development process by TYPIC-AL (excluding the electrical system and air conditioning carried out in parts of the physico-chemical laboratory areas).

| Quantity | Laboratory Systems for water purification Description and minimum technical specifications required |
| --- | --- |
| 1 | Automatic water distiller with built-in storage tank. |
|  | 1) Production of high purity distilled water (Conductivity approx. 2-3 μS/cm). |
|  | 2) Built-in 16 liters storage tank. |
|  | 3) Electronic water level switch. |
|  | 4) Automatic thermostatic cut-off safety system. |
|  | 5) All materials in contact with water made of stainless steel. |
|  | 6) Easily accessed evaporator and storage tank for effortless cleaning and maintenance. |
|  | 7) Suitable for both bench and wall mounting. |
|  | 8) All parts and tools for installation included. |
|  | 9) Power supply: 220 V. |
| 1 | - UV-VIS spectrophotometric systems |
|  | Spectrophotometer UV-VIS dual beam. |
|  | 1) Operating mode in transmittance and absorbance. |
|  | 2) Operating in the ultraviolet and visible region at least from 190 to 900 nm (spectral range of measurement). |
|  | 3) Dual Beam. |
|  | 4) Light source: deuterium lamp and halogen lamp with auto switching synchronized as a function of the wavelength. |
|  | 5) Two-position (reference and sample) cell holder for traditional 10 mm path length cells. |
|  | 6) Wavelength accuracy not exceeding ±0.3 nm a 656.1nm (deuterium line) and 0.5 nm for all range 190-900 nm. |
|  | 7) Spectral bandwidth variable at least from 0.5 to 4 nm. |
|  | 8) Photometric range at least from -3 to 3 A. |
|  | 9) Scan speed at least from 100 to 2000 nm/min. |
|  | 10) Stray light < 0,05%T a 220, 340/360 nm. |
|  | 11) Baseline Noise ≤0,002 ABS RMS (at 500nm). |
|  | 12) Baseline stability (long-term) < 0,001 ABS/h at 500 or 700 nm. |
|  | 13) Software for management and control of device from PC capable of: |
|  | - manage and set all instrumental parameters; |
|  | - acquire the spectra; |
|  | - search for peaks and calculate areas; |
|  | - carry out quantitative analyses. |
|  | 14) Personal Computer with technical specifications capable of adequately supporting the instrument management software, equipped with a Windows operating system including 24-inch monitor. keyboard and mouse. |
|  | 15) Full warranty not less than 12 months. |
|  | 16) Power supply: 220 V. |
|  | 17) One (1) day training course. |
| 1 | Systems for analysis of Kjeldahl nitrogen (TKN), proteins and ammoniacal nitrogen |
|  | Distillation Unit for analysis of Kjeldahl nitrogen (TKN), proteins, ammoniacal nitrogen, nitric nitrogen (Devarda), TVBN, sulfites, phenols, volatile acids, cyanides, and alcohol content, with the following minimum specifications. |
|  | 1) Digital display |
|  | 2) Rapid pre-heating time |
|  | 3) Programmable sodium hydroxide addition |
|  | 4) Selectable Distillation Time |
|  | 5) Analysis time no longer than 5 minutes for 100 ml of distillate |
|  | 6) High-precision pump ensuring constant accurate dosing of the reagent |
|  | 7) Intuitive interface for easy analysis settings |
|  | 8) Works with deionized water for steam generation |
|  | 9) Reduced water consumption |
|  | 10) Structure made of corrosion-resistant techno polymer |
|  | 11) Power supply: 220 V. |
| 1 | Digestion unit for analysis of Kjeldahl nitrogen (TKN) and proteins |
|  | 1) Aluminum heating block with at least 6 position for 250 ml tubes |
|  | 2) High thermal homogeneity heating up to 450 °C |
|  | 3) Adjustable temperature with display visualization |
|  | 4) Temperature of the block constantly controlled by a microprocessor |
|  | 5) Structure made of stainless steel with strong resistance to chemicals and mechanical stress |
|  | 6) Equipped with support, suction cap and drip tray, sample rack and stand for rack |
|  | 7) Supplied with at least 12 tubes (250 ml) |
|  | 8) Power supply: 220 V. |
| 1 | Scrubber to neutralize toxic fumes produced during mineralization and safeguard lab operators |
|  | 1) At least 3 adjustable suction power levels |
|  | 2) No connection required to tap water |
|  | 3) Connection tubes made of VITON |
|  | 4) Activated carbon filter to absorb odors produced during mineralization process |
|  | 5) 1 replacement carbon filters |
|  | 6) Power supply: 220 V. |
| 1 | Illuminated Magnetic Stirrer |
|  | 1) Illuminated surface for visualization of particles and color changes |
|  | 2) Variable speed |
|  | 3) Speed electronic control |
|  | 4) Power supply: 220 V. |
|  | Laboratory equipment |
| 1 | Benchtop pH-meter. |
|  | 1) Color digital display. |
|  | 2) Measurement of pH and mV, with temperature display. |
|  | 3) Automatic temperature compensation. |
|  | 4) pH resolution at least 0.01 pH unit |
|  | 5) pH measuring range at least from 1 to 14. |
|  | 6) pH electrode with built-in temperature sensor. |
|  | 7) Automatic pH calibration with buffers up to 3 points. |
|  | 8) Supplied with electrode holder stand, 3 buffer solutions for calibration, power supply and manual. |
|  | 9) Power supply: 220 V. |
| 1 | Benchtop conductivity-meter. |
|  | 1) Color digital display. |
|  | 2) Measurement of conductivity and TDS, with temperature display. |
|  | 3) Conductivity measuring range at least from 0.1 μS/cm to 100 mS/cm. |
|  | 4) Resolution at least 0,1 μS. |
|  | 5) Selectable reference temperature. |
|  | 6) Automatic conductivity calibration up to 3 points. |
|  | 7) Automatic temperature compensation. |
|  | 8) Sensor Cell with built-in temperature sensor. |
|  | 9) Supplied with electrode holder stand, 3 standard solutions for calibration, power supply and manual. |
|  | 10) Power supply: 220 V. |
| 1 | Digital magnetic stirrer with heating plate. |
|  | 1) Digital display with indication of temperature. |
|  | 2) Heating Temperature Range at least from ambient to 300 ° C. |
|  | 3) Stirring speed at least up to 1000 rpm. |
|  | 4) Stirring quantity at least up to 8 liters. |
|  | 5) Supplied with external temperature probe. |
|  | 6) Power supply: 220 V. |
| 1 | Digital Refractometer. |
|  | 1) Digital display |
|  | 2) Simultaneous display of °Brix, temperature and refractive index. |
|  | 3) Measuring range from 0,0 to 95,0 °Brix. |
|  | 4) Automatic temperature compensation. |
|  | 5) Self-calibrating with distilled water. |
|  | 6) Supplied with power supply (220 V) and manual. |
| 1 | Ventilated benchtop centrifuge. |
|  | 1) Speed at least up to 6000 rpm. |
|  | 2) Automatic rotor detection. |
|  | 3) LCD display. |
|  | 4) Display of all centrifugation parameters. |
|  | 5) Programmable speed from 500 rpm with step at least of 50 rpm. |
|  | 6) Imbalance detection system with automatic functioning stop |
|  | 7) Acceleration and deceleration adjustable. |
|  | 8) Centrifuge chamber made of steel-inox. |
|  | 9) Supplied with fixed angle rotors for 50 ml and 15 ml tubes including buckets for all the position. |
|  | 10) Power supply: 220 V. |
| 1 | Precision balance. |
|  | 1) Digital display. |
|  | 2) Automatic internal calibration. |
|  | 3) Weighing capacity at least 700 g. |
|  | 4) Readability 0.001 g |
|  | 5) Dimensions weighing surface (Ø) at least 10 cm. |
|  | 6) Power supply: 220 V. |
| 1 | Cryoscope for determining the freezing point of milk. |
|  | 1) Single sample capacity. |
|  | 2) Supplied with two (2) calibration standard (-408 m°C and -600 m°C), one (1) control standard and at least 10 sample Tube- Glass. |
|  | 3) Power supply: 220 V. |
| 1 | Technical furnishings Fume hoods (cupboard) able to maintain a working environment meeting safety requirements in chemical laboratories, where corrosive acids and organic solvents are handled in hot and cold conditions. |
|  | The fume hoods must have the following minimum specifications. |
|  | 1) Width 180 cm. |
|  | 2) Super and under structure self-supporting. |
|  | 3) Whole structure made of anticorrosion and acid-resistant material. |
|  | 4) Adjustable stabilizing feet. |
|  | 5) Worktop in monolithic gres (ceramic). |
|  | 6) Worktop undercabinet. |
|  | 7) Vertical sash with movement mechanism by counterweight. |
|  | 8) Mode of suction: single way suction. |
|  | 9) Inner illumination with fluorescence or led lamp. |
|  | 10) Electrical services with internal wiring composed of: |
|  | § At least number 3 socket (10/16 A 3 pin + Shuko type) with switch. |
|  | § Switch for internal lamp. |
|  | § Main switch to disconnecting the power. |
|  | 11) Power supply: 220 V. |
| 1 | Laboratory wall bench with the following minimum specifications. |
|  | 1) Supporting structure made of metal |
|  | 2) Measuring (L x D x H) 240 x 80 (±3) x 90 (±3) cm. |
|  | 3) Worktop made of a gres slab (thickness at least 3 mm) structurally reinforced and supported by a wooden panel, with resistance to acids (except HF), alkalis and solvents (not tiles, but e.g. Greslam type). |
|  | 4) Worktop undercabinet, width 60 cm, 1 door, 1 shelves, grey colour |
|  | 5) Complete with closure panels. |

MICROBIOLOGICAL LABORATORY
Current services

| FOOD & FEED |  |
| --- | --- |
|  | Campylobacter |
|  | Coagulase positive Staphylococci |
|  | Escherichia coli (produkt dhe uje) |
|  | Listeria monocytogenes |
|  | Aerobic Total |
|  | Salmonella |
|  | NPM Enterobacterium |
|  | Parasites (Trichinella, Echinococcus, Anisakis) |
|  | The analysis and testing of zoonoses(Salmonella) |

III. Regarding Proposed Structural Interventions

- Complete reconstruction of the building, including the electrical system, which must ensure continuous and stable power supply, and the hydraulic system, in accordance with the standards required by the respective laboratories.

- Suitable environmental conditions for performing the planned activities for this laboratory sector in new premises, in compliance with laboratory standards. Except for the TYPIC-AL investment, in the microbiology and animal and plant health laboratories, the operation of ventilation, air conditioning, and a stable electrical network must be ensured. The Food Microbiology Laboratory structurally consists of only one room where all laboratory activities take place, from sample preparation to reading and interpreting results. This laboratory does not have a dedicated room for Laundry for the decontamination of infectious materials.

- Intervention for creating a sample reception office and installing an internal vertical elevator/using the existing one for sample transport.

ANNEX 2

Basic technical assumptions and requirements for storage facilities – functional layout planning:

- the building (i.e. premises/facilities) must constitute a detached, standing alone building made of durable materials (concrete, bricks, or similar), of ca. 100 m2 surface and up to 5 meters in height;

- the building must be located on a well-drained hardstanding;

- the building must contain: an area for mechanized unloading (e.g. with a forklift), a small office space, and at least 2 dark and separate chambers with controlled temperature: one for refrigerated products (2-8oC), one for frozen products (ca. -18oC); floors shall allow for smooth operation of machinery (e.g. no doorsteps);

- storage chambers must be temperature-controlled and designed to allow the monitoring and recording of those temperatures;

- storage chambers may contain racks with shelves, preferably made of steel and easy to dismantle;

- the building must have a covered space to receive and dispatch the seized products, equipped with a ramp and unloading equipment, and secured with installations which prevent the spreading of risks to public and animal health;

- the building must be constructed in such a way that it is easy to clean and disinfect (all internal surfaces); floors must be laid down in such a way as to facilitate the draining of liquids; material used for tiling floors and walls shall be durable and ressistant to disinfection measures;

- staff must have access to adequate facilities for personal hygiene such as lavatories, changing rooms and washbasins, if necessary to prevent risks of contamination;

- entrance for staff shall be separated from unloading gate (i.e. staff cannot enter the building through the unloading gate);

- the building must have appropriate arrangements for protection against pests, such as insects, rodents and birds (including through ventilation);

- the building shall be equipped with adequate facilities for cleaning and disinfecting the containers or receptacles in seized products are received and for the vehicles, in which they are transported; adequate facilities shall be also available for the disinfecting of vehicles (loading trucks, wheels, etc.);

- the building must have a waste-water disposal system meeting the requirements set out by the competent authority in accordance with Union legislation;

- the building must be made in such a way that they provide high energy-use efficiency and proper thermal isolation;

- optionally, the building can be equipped with solar panels installed on the roof, with good exposition to the sun;

- the area around the building, especially close to unloading area, must be of hard surface, to allow for easy handling of trucks of up to 30 tonnes.